## Calibration_Factor
PREDICTION INTERVAL
Image,Mean BB-Size | Image | Predicted Size | True Size X | True Size Y | True Mean Size | (pred-true)^2 | Predicted Cooling Capacity [kW] | True Cooling Capacity [kW] | (pred-true)^22 | Relative Deviation(Pred-True) |  | Pred for prediction interal | Prediction Interval Minimum | Prediction Interval Maximum | Confidence Interval Minimum | Confidence Interval Maximum |  | Formula Cooling Towers
10 (12)_CT_0.txt,31.873586989 | 10 (1)_CT_0.txt | 38.3344 | 37 | 36 | 36.5 | 3.3652 | 6475.9017 | 5980.0347 | 245884.0703 | 108.292 |  | 6041.0497 | 5027.1122 | 7054.9871 | 5949.4235 | 6132.6759 |  | P(d) = 672,07*d^2 - 888,62*d + 628,64
9 (11)_CT_0.txt,29.7199662465 | 10 (1)_CT_1.txt | 37.9037 | 37 | 36 | 36.5 | 1.9704 | 6358.3932 | 5980.0347 | 143155.1697 | 106.327 |  | 6041.0497 | 5027.1122 | 7054.9871 | 5949.4235 | 6132.6759 |  | 0
9 (5)_CT_0.txt,29.289242098000003 | 10 (1)_CT_2.txt | 36.1808 | 35 | 35 | 35 | 1.3944 | 5894.9879 | 5583.5074 | 97020.1177 | 105.5786 |  | 5663.5054 | 4649.6141 | 6677.3966 | 5572.3914 | 5754.6193 |  | 120
8 (15)_CT_2.txt,35.750104325500004 | 10 (1)_CT_3.txt | 37.0423 | 35 | 35 | 35 | 4.1709 | 6125.3648 | 5583.5074 | 293609.5027 | 109.7046 |  | 5663.5054 | 4649.6141 | 6677.3966 | 5572.3914 | 5754.6193
9 (9)_CT_1.txt,58.1477600475 | 10 (1)_CT_4.txt | 37.0423 | 35 | 35 | 35 | 4.1709 | 6125.3648 | 5583.5074 | 293609.5027 | 109.7046 |  | 5663.5054 | 4649.6141 | 6677.3966 | 5572.3914 | 5754.6193
10 (10)_CT_1.txt,23.6898281675 | 10 (10)_CT_0.txt | 24.5513 | 21 | 23 | 22 | 6.509 | 3044.4083 | 2483.6842 | 314411.4413 | 122.5763 |  | 2712.0803 | 1696.9602 | 3727.2003 | 2608.1815 | 2815.9791 | Slope | 0.95213 | 347.2977 | Intercept
5 (7)_CT_1.txt,52.1176219685 | 10 (10)_CT_1.txt | 23.6898 | 20 | 22 | 21 | 7.2352 | 2852.4771 | 2270.2467 | 338992.277 | 125.6461 |  | 2508.8606 | 1493.5524 | 3524.1689 | 2403.139 | 2614.5822 | Standard Error slope | 0.0087132 | 65.7016 | Standard Error intercept
10 (9)_CT_1.txt,43.07241485 | 10 (10)_CT_2.txt | 21.5362 | 29 | 21 | 25 | 11.9979 | 2384.2492 | 3145.4344 | 579402.8853 | 75.8003 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575 | R^2 | 0.98997 | 510.0553 | Standard error Y
8 (4)_CT_1.txt,28.427793801 | 10 (10)_CT_3.txt | 21.9669 | 29 | 21 | 25 | 9.1995 | 2476.5691 | 3145.4344 | 447380.8179 | 78.7354 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575 | F | 11940.7912 | 121 | degrees of freedom (n(data) - k(variables)
8 (16)_CT_2.txt,40.0573458105 | 10 (11)_CT_0.txt | 18.9519 | 19 | 19 | 19 | 0.0023172 | 1844.25 | 1854.0903 | 96.8301 | 99.4693 |  | 2112.6269 | 1096.9135 | 3128.3404 | 2003.0823 | 2222.1716 | SS regr (unexplained variation) | 3106473124.333 | 31478923.1121 | SS res (explained variation)
10 (11)_CT_0.txt,18.951862534 | 10 (12)_CT_0.txt | 31.8736 | 33 | 31 | 32 | 0.01598 | 4782.8747 | 4814.5699 | 1004.5852 | 99.3417 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592
8 (11)_CT_2.txt,31.442862840500002 | 10 (12)_CT_1.txt | 32.3043 | 33 | 31 | 32 | 0.092605 | 4891.1032 | 4814.5699 | 5857.3406 | 101.5896 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592 | Number of Values | 123
9 (2)_CT_1.txt,21.966931573500002 | 10 (12)_CT_2.txt | 31.4429 | 32 | 30 | 31 | 0.19613 | 4675.3091 | 4565.4033 | 12079.3015 | 102.4074 |  | 4694.141 | 3680.1569 | 5708.1251 | 4602.0001 | 4786.282 | Average X value | 5385.0715
8 (6)_CT_1.txt,31.873586989 | 10 (12)_CT_3.txt | 31.8736 | 33 | 31 | 32 | 0.01598 | 4782.8747 | 4814.5699 | 1004.5852 | 99.3417 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592 | Sum of squares of deviations | 3426714409.8875 |  |  | 0
10 (6)_CT_2.txt,23.6898281675 | 10 (12)_CT_4.txt | 32.3043 | 33 | 31 | 32 | 0.092605 | 4891.1032 | 4814.5699 | 5857.3406 | 101.5896 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592 | Inverse Sturents t-distribution 0.95 | 1.9798 |  |  | 70000
7 (19)_CT_0.txt,32.3043111375 | 10 (12)_CT_5.txt | 29.72 | 33 | 28 | 30.5 | 0.60845 | 4251.6753 | 4442.1598 | 36284.3239 | 95.7119 |  | 4576.7976 | 3562.7816 | 5590.8135 | 4484.3065 | 4669.2886 | Standard Error | 510.0553 |  |  |  | line of best fit:
7 (18)_CT_0.txt,31.012138692 | 10 (14)_CT_0.txt | 26.7049 | 26 | 25 | 25.5 | 1.4518 | 3535.8362 | 3258.8524 | 76720.0353 | 108.4994 |  | 3450.1387 | 2435.5901 | 4464.6874 | 3351.9793 | 3548.2981 |  |  |  |  | 1319.85 | 1000 | 1299.4
8 (6)_CT_2.txt,33.1657594345 | 10 (14)_CT_1.txt | 25.4127 | 24 | 25 | 24.5 | 0.83307 | 3238.9909 | 3032.9096 | 42469.4761 | 106.7948 |  | 3235.0126 | 2220.3155 | 4249.7096 | 3135.3313 | 3334.6939 |  |  |  |  | 65952.15 | 60000 | 57473.3
10 (6)_CT_1.txt,22.397655722 | 10 (16)_CT_0.txt | 28.4278 | 28 | 27 | 27.5 | 0.8608 | 3940.91 | 3721.4566 | 48159.7838 | 105.897 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617
7 (17)_CT_1.txt,22.8283798705 | 10 (16)_CT_1.txt | 27.5663 | 28 | 27 | 27.5 | 0.0044017 | 3737.0474 | 3721.4566 | 243.072 | 100.4189 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617 | [5 empty] | upper prediction interval
8 (2)_CT_1.txt,22.397655722 | 10 (16)_CT_2.txt | 27.9971 | 28 | 27 | 27.5 | 0.24708 | 3838.6472 | 3721.4566 | 13733.6464 | 103.1491 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617 | [5 empty] | 1000 | 2302.8
25 (6)_CT_0.txt,24.120552316 | 10 (16)_CT_3.txt | 28.4278 | 28 | 27 | 27.5 | 0.8608 | 3940.91 | 3721.4566 | 48159.7838 | 105.897 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617 | [5 empty] | 60000 | 58671.4
10 (6)_CT_0.txt,22.8283798705 | 10 (16)_CT_4.txt | 27.1356 | 28 | 27 | 27.5 | 0.13277 | 3636.1103 | 3721.4566 | 7283.9828 | 97.7066 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617 | [5 empty] | lower prediction interval
10 (12)_CT_1.txt,32.3043111375 | 10 (16)_CT_5.txt | 27.5663 | 28 | 26 | 27 | 0.32075 | 3737.0474 | 3604.4657 | 17577.8977 | 103.6783 |  | 3779.2065 | 2764.8559 | 4793.5571 | 3683.1155 | 3875.2975 | [5 empty] | 1000 | 296.03
10 (1)_CT_3.txt,37.042276771000004 | 10 (16)_CT_6.txt | 23.2591 | 24 | 25 | 24.5 | 1.5398 | 2757.5058 | 3032.9096 | 75847.2648 | 90.9195 |  | 3235.0126 | 2220.3155 | 4249.7096 | 3135.3313 | 3334.6939 | [5 empty] | 60000 | 56275.23
10 (16)_CT_0.txt,28.427793801 | 10 (16)_CT_7.txt | 22.8284 | 23 | 24 | 23.5 | 0.45107 | 2663.1974 | 2810.5398 | 21709.7884 | 94.7575 |  | 3023.2883 | 2008.4306 | 4038.1459 | 2921.9849 | 3124.5916
7 (16)_CT_1.txt,30.5814145435 | 10 (4)_CT_0.txt | 27.9971 | 29 | 26 | 27.5 | 0.24708 | 3838.6472 | 3721.4566 | 13733.6464 | 103.1491 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617
10 (1)_CT_1.txt,37.903725068 | 10 (4)_CT_1.txt | 25.8434 | 27 | 23 | 25 | 0.71141 | 3337.2764 | 3145.4344 | 36803.3764 | 106.0991 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575
6 (6)_CT_0.txt,102.0816231945 | 10 (4)_CT_2.txt | 29.2892 | 28 | 27 | 27.5 | 3.2014 | 4147.424 | 3721.4566 | 181448.2402 | 111.4463 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617 | [6 empty] | 2598.83
7 (3)_CT_0.txt,37.4730009195 | 10 (6)_CT_0.txt | 22.8284 | 23 | 23 | 23 | 0.029453 | 2663.1974 | 2700.6947 | 1406.0505 | 98.6116 |  | 2918.7018 | 1903.7594 | 3933.6442 | 2816.5536 | 3020.85
8 (9)_CT_2.txt,31.873586989 | 10 (6)_CT_1.txt | 22.3977 | 23 | 22 | 22.5 | 0.010474 | 2569.5518 | 2591.7428 | 492.4435 | 99.1438 |  | 2814.9658 | 1799.936 | 3829.9957 | 2711.952 | 2917.9796
7 (9)_CT_0.txt,25.4127247615 | 10 (6)_CT_2.txt | 23.6898 | 23 | 23 | 23 | 0.47586 | 2852.4771 | 2700.6947 | 23037.8948 | 105.6201 |  | 2918.7018 | 1903.7594 | 3933.6442 | 2816.5536 | 3020.85
7 (18)_CT_1.txt,31.012138692 | 10 (8)_CT_0.txt | 25.8434 | 27 | 25 | 26 | 0.024508 | 3337.2764 | 3373.1636 | 1287.8871 | 98.9361 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
8 (5)_CT_2.txt,33.1657594345 | 10 (9)_CT_0.txt | 42.211 | 38 | 40 | 39 | 10.3103 | 7563.3065 | 6658.7781 | 818171.6885 | 113.584 |  | 6687.2995 | 5673.176 | 7701.423 | 6593.6364 | 6780.9626
10 (9)_CT_0.txt,42.210966553 | 10 (9)_CT_1.txt | 43.0724 | 39 | 40 | 39.5 | 12.7621 | 7812.2434 | 6797.2064 | 1030300.1742 | 114.9332 |  | 6819.1009 | 5804.9228 | 7833.279 | 6724.849 | 6913.3528
10 (16)_CT_5.txt,27.566345504 | 10 (9)_CT_2.txt | 33.1658 | 28 | 31 | 29.5 | 13.4378 | 5109.5487 | 4198.3525 | 830278.5277 | 121.7037 |  | 4344.6621 | 3330.5699 | 5358.7542 | 4251.3396 | 4437.9846
8 (5)_CT_1.txt,35.750104325500004 | 10 (9)_CT_3.txt | 33.1658 | 29 | 31 | 30 | 10.022 | 5109.5487 | 4319.8095 | 623687.9579 | 118.2818 |  | 4460.3046 | 3446.2526 | 5474.3566 | 4367.4192 | 4553.19
9 (6)_CT_2.txt,39.626621662 | 25 (6)_CT_0.txt | 24.1206 | 25 | 24 | 24.5 | 0.14398 | 2948.1112 | 3032.9096 | 7190.7639 | 97.2041 |  | 3235.0126 | 2220.3155 | 4249.7096 | 3135.3313 | 3334.6939
10 (16)_CT_2.txt,27.997069652500002 | 5 (6)_CT_0.txt | 45.226 | 44 | 45 | 44.5 | 0.52713 | 8446.1858 | 8230.6175 | 46469.707 | 102.6191 |  | 8183.8902 | 7168.8172 | 9198.9632 | 8080.452 | 8287.3284
10 (16)_CT_4.txt,27.1356213555 | 5 (6)_CT_1.txt | 45.226 | 44 | 45 | 44.5 | 0.52713 | 8446.1858 | 8230.6175 | 46469.707 | 102.6191 |  | 8183.8902 | 7168.8172 | 9198.9632 | 8080.452 | 8287.3284
7 (13)_CT_0.txt,25.4127247615 | 5 (7)_CT_0.txt | 50.3947 | 51 | 51 | 51 | 0.36636 | 10035.2591 | 10227.5895 | 36990.9513 | 98.1195 |  | 10085.2609 | 9067.9401 | 11102.5818 | 9961.6974 | 10208.8245
5 (7)_CT_0.txt,50.3947253745 | 5 (7)_CT_1.txt | 52.1176 | 51 | 51 | 51 | 1.2491 | 10586.1617 | 10227.5895 | 128574.0474 | 103.5059 |  | 10085.2609 | 9067.9401 | 11102.5818 | 9961.6974 | 10208.8245
6 (5)_CT_0.txt,104.235243937 | 6 (5)_CT_0.txt | 104.2352 | 105 | 105 | 105 | 0.58485 | 32263.8277 | 32654.1664 | 152364.2564 | 98.8046 |  | 31438.2086 | 30320.5168 | 32555.9003 | 30959.0831 | 31917.334
9 (5)_CT_1.txt,30.5814145435 | 6 (6)_CT_0.txt | 102.0816 | 105 | 105 | 105 | 8.5169 | 31175.8276 | 32654.1664 | 2185485.592 | 95.4727 |  | 31438.2086 | 30320.5168 | 32555.9003 | 30959.0831 | 31917.334
8 (5)_CT_3.txt,34.8886560285 | 6 (6)_CT_1.txt | 96.9129 | 105 | 105 | 105 | 65.4006 | 28632.2387 | 32654.1664 | 16175901.9388 | 87.6833 |  | 31438.2086 | 30320.5168 | 32555.9003 | 30959.0831 | 31917.334
10 (8)_CT_0.txt,25.84344891 | 6 (8)_CT_0.txt | 103.8045 | 105 | 105 | 105 | 1.4292 | 32044.902 | 32654.1664 | 371203.0965 | 98.1342 |  | 31438.2086 | 30320.5168 | 32555.9003 | 30959.0831 | 31917.334
10 (4)_CT_2.txt,29.289242098000003 | 7 (13)_CT_0.txt | 25.4127 | 25 | 24 | 24.5 | 0.83307 | 3238.9909 | 3032.9096 | 42469.4761 | 106.7948 |  | 3235.0126 | 2220.3155 | 4249.7096 | 3135.3313 | 3334.6939
9 (3)_CT_1.txt,25.4127247615 | 7 (14)_CT_0.txt | 24.1206 | 24 | 23 | 23.5 | 0.38509 | 2948.1112 | 2810.5398 | 18925.9087 | 104.8948 |  | 3023.2883 | 2008.4306 | 4038.1459 | 2921.9849 | 3124.5916
8 (16)_CT_0.txt,39.626621662 | 7 (15)_CT_0.txt | 25.4127 | 25 | 24 | 24.5 | 0.83307 | 3238.9909 | 3032.9096 | 42469.4761 | 106.7948 |  | 3235.0126 | 2220.3155 | 4249.7096 | 3135.3313 | 3334.6939
10 (10)_CT_3.txt,21.966931573500002 | 7 (15)_CT_1.txt | 23.2591 | 24 | 24 | 24 | 0.54893 | 2757.5058 | 2921.2781 | 26821.3622 | 94.3938 |  | 3128.7252 | 2113.9493 | 4143.5011 | 3028.2446 | 3229.2057
10 (12)_CT_4.txt,32.3043111375 | 7 (16)_CT_0.txt | 31.4429 | 31 | 30 | 30.5 | 0.88899 | 4675.3091 | 4442.1598 | 54358.6272 | 105.2486 |  | 4576.7976 | 3562.7816 | 5590.8135 | 4484.3065 | 4669.2886
8 (6)_CT_0.txt,31.442862840500002 | 7 (16)_CT_1.txt | 30.5814 | 31 | 30 | 30.5 | 0.0066283 | 4462.1665 | 4442.1598 | 400.2698 | 100.4504 |  | 4576.7976 | 3562.7816 | 5590.8135 | 4484.3065 | 4669.2886
10 (9)_CT_4.txt,33.1657594345 | 7 (16)_CT_2.txt | 29.2892 | 29 | 28 | 28.5 | 0.6229 | 4147.424 | 3958.1181 | 35836.7377 | 104.7827 |  | 4115.9284 | 3101.7442 | 5130.1127 | 4021.6102 | 4210.2467
7 (16)_CT_0.txt,31.442862840500002 | 7 (17)_CT_0.txt | 24.1206 | 23 | 23 | 23 | 1.2556 | 2948.1112 | 2700.6947 | 61214.9475 | 109.1612 |  | 2918.7018 | 1903.7594 | 3933.6442 | 2816.5536 | 3020.85
10 (14)_CT_0.txt,26.704897207000002 | 7 (17)_CT_1.txt | 22.8284 | 23 | 23 | 23 | 0.029453 | 2663.1974 | 2700.6947 | 1406.0505 | 98.6116 |  | 2918.7018 | 1903.7594 | 3933.6442 | 2816.5536 | 3020.85
8 (4)_CT_0.txt,29.289242098000003 | 7 (18)_CT_0.txt | 31.0121 | 30 | 31 | 30.5 | 0.26229 | 4568.4064 | 4442.1598 | 15938.2107 | 102.842 |  | 4576.7976 | 3562.7816 | 5590.8135 | 4484.3065 | 4669.2886
9 (1)_CT_2.txt,30.5814145435 | 7 (18)_CT_1.txt | 31.0121 | 30 | 31 | 30.5 | 0.26229 | 4568.4064 | 4442.1598 | 15938.2107 | 102.842 |  | 4576.7976 | 3562.7816 | 5590.8135 | 4484.3065 | 4669.2886
8 (9)_CT_3.txt,31.012138692 | 7 (19)_CT_0.txt | 32.3043 | 31 | 31 | 31 | 1.7012 | 4891.1032 | 4565.4033 | 106080.4441 | 107.1341 |  | 4694.141 | 3680.1569 | 5708.1251 | 4602.0001 | 4786.282
10 (1)_CT_0.txt,38.334449216500005 | 7 (19)_CT_1.txt | 31.4429 | 31 | 31 | 31 | 0.19613 | 4675.3091 | 4565.4033 | 12079.3015 | 102.4074 |  | 4694.141 | 3680.1569 | 5708.1251 | 4602.0001 | 4786.282
8 (9)_CT_0.txt,31.012138692 | 7 (2)_CT_0.txt | 28.8585 | 28 | 28 | 28 | 0.73705 | 4043.8356 | 3839.3407 | 41818.1399 | 105.3263 |  | 4002.8373 | 2988.6013 | 5017.0734 | 3907.9637 | 4097.7109
8 (7)_CT_0.txt,32.735035286 | 7 (2)_CT_1.txt | 28.8585 | 28 | 28 | 28 | 0.73705 | 4043.8356 | 3839.3407 | 41818.1399 | 105.3263 |  | 4002.8373 | 2988.6013 | 5017.0734 | 3907.9637 | 4097.7109
10 (16)_CT_6.txt,23.259104019000002 | 7 (20)_CT_0.txt | 34.0272 | 34 | 34 | 34 | 0.00074026 | 5330.6456 | 5323.622 | 49.3311 | 100.1319 |  | 5416.0615 | 4402.1754 | 6429.9475 | 5325.0057 | 5507.1173
7 (15)_CT_1.txt,23.259104019000002 | 7 (20)_CT_1.txt | 34.0272 | 34 | 34 | 34 | 0.00074026 | 5330.6456 | 5323.622 | 49.3311 | 100.1319 |  | 5416.0615 | 4402.1754 | 6429.9475 | 5325.0057 | 5507.1173
8 (15)_CT_0.txt,34.457931880000004 | 7 (20)_CT_2.txt | 34.8887 | 34 | 34 | 34 | 0.78971 | 5554.3939 | 5323.622 | 53255.6973 | 104.3349 |  | 5416.0615 | 4402.1754 | 6429.9475 | 5325.0057 | 5507.1173
9 (6)_CT_0.txt,44.795311444 | 7 (20)_CT_3.txt | 34.4579 | 34 | 34 | 34 | 0.2097 | 5442.1883 | 5323.622 | 14057.9806 | 102.2272 |  | 5416.0615 | 4402.1754 | 6429.9475 | 5325.0057 | 5507.1173
7 (2)_CT_0.txt,28.8585179495 | 7 (3)_CT_0.txt | 37.473 | 36 | 36 | 36 | 2.1697 | 6241.5476 | 5846.9657 | 155694.8785 | 106.7485 |  | 5914.3511 | 4900.4343 | 6928.2679 | 5822.9535 | 6005.7487
10 (12)_CT_3.txt,31.873586989 | 7 (4)_CT_0.txt | 21.5362 | 20 | 20 | 20 | 2.3599 | 2384.2492 | 2060.382 | 104889.957 | 115.7188 |  | 2309.0428 | 1293.5366 | 3324.5491 | 2201.4362 | 2416.6495
8 (11)_CT_0.txt,31.873586989 | 7 (4)_CT_1.txt | 20.6748 | 20 | 20 | 20 | 0.4553 | 2201.598 | 2060.382 | 19941.9693 | 106.8539 |  | 2309.0428 | 1293.5366 | 3324.5491 | 2201.4362 | 2416.6495
7 (16)_CT_2.txt,29.289242098000003 | 7 (9)_CT_0.txt | 25.4127 | 25 | 25 | 25 | 0.17034 | 3238.9909 | 3145.4344 | 8752.8141 | 102.9744 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575
7 (15)_CT_0.txt,25.4127247615 | 7 (9)_CT_1.txt | 24.1206 | 24 | 24 | 24 | 0.014533 | 2948.1112 | 2921.2781 | 720.0186 | 100.9185 |  | 3128.7252 | 2113.9493 | 4143.5011 | 3028.2446 | 3229.2057
10 (10)_CT_0.txt,24.551276464500003 | 8 (11)_CT_0.txt | 31.8736 | 32 | 32 | 32 | 0.01598 | 4782.8747 | 4814.5699 | 1004.5852 | 99.3417 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592
9 (4)_CT_3.txt,23.259104019000002 | 8 (11)_CT_1.txt | 30.5814 | 31 | 32 | 31.5 | 0.8438 | 4462.1665 | 4689.54 | 51698.6927 | 95.1515 |  | 4812.3349 | 3798.3785 | 5826.2914 | 4720.4982 | 4904.1716
6 (6)_CT_1.txt,96.91293341250001 | 8 (11)_CT_2.txt | 31.4429 | 31 | 32 | 31.5 | 0.0032647 | 4675.3091 | 4689.54 | 202.5169 | 99.6965 |  | 4812.3349 | 3798.3785 | 5826.2914 | 4720.4982 | 4904.1716
8 (5)_CT_0.txt,34.8886560285 | 8 (14)_CT_0.txt | 26.7049 | 26 | 26 | 26 | 0.49688 | 3535.8362 | 3373.1636 | 26462.3753 | 104.8226 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
10 (1)_CT_2.txt,36.180828474 | 8 (14)_CT_1.txt | 26.2742 | 24 | 25 | 24.5 | 3.1477 | 3436.2249 | 3032.9096 | 162663.2039 | 113.298 |  | 3235.0126 | 2220.3155 | 4249.7096 | 3135.3313 | 3334.6939
5 (6)_CT_0.txt,45.226035592500004 | 8 (14)_CT_2.txt | 27.1356 | 26 | 26 | 26 | 1.2896 | 3636.1103 | 3373.1636 | 69140.9993 | 107.7953 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
9 (1)_CT_1.txt,29.7199662465 | 8 (15)_CT_0.txt | 34.4579 | 33 | 34 | 33.5 | 0.91763 | 5442.1883 | 5195.0191 | 61092.6191 | 104.7578 |  | 5293.6152 | 4279.7244 | 6307.506 | 5202.5066 | 5384.7238
9 (1)_CT_0.txt,30.150690395 | 8 (15)_CT_1.txt | 34.8887 | 34 | 35 | 34.5 | 0.15105 | 5554.3939 | 5453.1181 | 10256.803 | 101.8572 |  | 5539.3582 | 4525.472 | 6553.2443 | 5448.301 | 5630.4154
8 (14)_CT_1.txt,26.2741730585 | 8 (15)_CT_2.txt | 35.7501 | 34 | 35 | 34.5 | 1.5628 | 5780.7937 | 5453.1181 | 107371.3371 | 106.009 |  | 5539.3582 | 4525.472 | 6553.2443 | 5448.301 | 5630.4154
7 (4)_CT_1.txt,20.674759128 | 8 (16)_CT_0.txt | 39.6266 | 37 | 39 | 38 | 2.6459 | 6832.4042 | 6384.601 | 200527.7021 | 107.0138 |  | 6426.2482 | 5412.2161 | 7440.2803 | 6333.5804 | 6518.916
9 (6)_CT_1.txt,43.5031389985 | 8 (16)_CT_1.txt | 40.0573 | 38 | 39 | 38.5 | 2.4253 | 6952.5641 | 6521.2429 | 186037.9711 | 106.6141 |  | 6556.3486 | 5542.2737 | 7570.4235 | 6463.2135 | 6649.4838
10 (1)_CT_4.txt,37.042276771000004 | 8 (16)_CT_2.txt | 40.0573 | 38 | 39 | 38.5 | 2.4253 | 6952.5641 | 6521.2429 | 186037.9711 | 106.6141 |  | 6556.3486 | 5542.2737 | 7570.4235 | 6463.2135 | 6649.4838
5 (6)_CT_1.txt,45.226035592500004 | 8 (2)_CT_0.txt | 22.8284 | 23 | 21 | 22 | 0.68621 | 2663.1974 | 2483.6842 | 32224.9656 | 107.2277 |  | 2712.0803 | 1696.9602 | 3727.2003 | 2608.1815 | 2815.9791
10 (4)_CT_0.txt,27.997069652500002 | 8 (2)_CT_1.txt | 22.3977 | 23 | 21 | 22 | 0.15813 | 2569.5518 | 2483.6842 | 7373.2371 | 103.4573 |  | 2712.0803 | 1696.9602 | 3727.2003 | 2608.1815 | 2815.9791
9 (12)_CT_1.txt,24.551276464500003 | 8 (4)_CT_0.txt | 29.2892 | 27 | 28 | 27.5 | 3.2014 | 4147.424 | 3721.4566 | 181448.2402 | 111.4463 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617
9 (12)_CT_3.txt,24.551276464500003 | 8 (4)_CT_1.txt | 28.4278 | 27 | 28 | 27.5 | 0.8608 | 3940.91 | 3721.4566 | 48159.7838 | 105.897 |  | 3890.5967 | 2876.3051 | 4904.8882 | 3795.1316 | 3986.0617
7 (20)_CT_3.txt,34.457931880000004 | 8 (5)_CT_0.txt | 34.8887 | 34 | 35 | 34.5 | 0.15105 | 5554.3939 | 5453.1181 | 10256.803 | 101.8572 |  | 5539.3582 | 4525.472 | 6553.2443 | 5448.301 | 5630.4154
9 (7)_CT_0.txt,40.9187941075 | 8 (5)_CT_1.txt | 35.7501 | 35 | 36 | 35.5 | 0.062552 | 5780.7937 | 5714.7899 | 4356.5027 | 101.155 |  | 5788.503 | 4774.6016 | 6802.4044 | 5697.2759 | 5879.7301
10 (9)_CT_3.txt,33.1657594345 | 8 (5)_CT_2.txt | 33.1658 | 35 | 35 | 35 | 3.3644 | 5109.5487 | 5583.5074 | 224636.8533 | 91.5115 |  | 5663.5054 | 4649.6141 | 6677.3966 | 5572.3914 | 5754.6193
10 (9)_CT_2.txt,33.1657594345 | 8 (6)_CT_0.txt | 31.4429 | 32 | 32 | 32 | 0.3104 | 4675.3091 | 4814.5699 | 19393.5675 | 97.1075 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592
9 (3)_CT_3.txt,23.259104019000002 | 8 (6)_CT_1.txt | 31.8736 | 32 | 32 | 32 | 0.01598 | 4782.8747 | 4814.5699 | 1004.5852 | 99.3417 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592
7 (19)_CT_1.txt,31.442862840500002 | 8 (6)_CT_2.txt | 33.1658 | 33 | 34 | 33.5 | 0.11172 | 5109.5487 | 5195.0191 | 7305.1983 | 98.3548 |  | 5293.6152 | 4279.7244 | 6307.506 | 5202.5066 | 5384.7238
8 (16)_CT_1.txt,40.0573458105 | 8 (7)_CT_0.txt | 32.735 | 32 | 30 | 31 | 3.0103 | 4999.9945 | 4565.4033 | 188869.5491 | 109.5192 |  | 4694.141 | 3680.1569 | 5708.1251 | 4602.0001 | 4786.282
6 (8)_CT_0.txt,103.8045197885 | 8 (9)_CT_0.txt | 31.0121 | 30 | 31 | 30.5 | 0.26229 | 4568.4064 | 4442.1598 | 15938.2107 | 102.842 |  | 4576.7976 | 3562.7816 | 5590.8135 | 4484.3065 | 4669.2886
7 (4)_CT_0.txt,21.536207425 | 8 (9)_CT_1.txt | 31.0121 | 31 | 31 | 31 | 0.00014735 | 4568.4064 | 4565.4033 | 9.0188 | 100.0658 |  | 4694.141 | 3680.1569 | 5708.1251 | 4602.0001 | 4786.282
7 (20)_CT_2.txt,34.8886560285 | 8 (9)_CT_2.txt | 31.8736 | 33 | 31 | 32 | 0.01598 | 4782.8747 | 4814.5699 | 1004.5852 | 99.3417 |  | 4931.3793 | 3917.4461 | 5945.3126 | 4839.7994 | 5022.9592
9 (12)_CT_0.txt,24.551276464500003 | 8 (9)_CT_3.txt | 31.0121 | 32 | 31 | 31.5 | 0.23801 | 4568.4064 | 4689.54 | 14673.345 | 97.4169 |  | 4812.3349 | 3798.3785 | 5826.2914 | 4720.4982 | 4904.1716
9 (9)_CT_0.txt,52.1176219685 | 9 (1)_CT_0.txt | 30.1507 | 30 | 30 | 30 | 0.022708 | 4356.5895 | 4319.8095 | 1352.7673 | 100.8514 |  | 4460.3046 | 3446.2526 | 5474.3566 | 4367.4192 | 4553.19
9 (4)_CT_0.txt,27.566345504 | 9 (1)_CT_1.txt | 29.72 | 30 | 30 | 30 | 0.078419 | 4251.6753 | 4319.8095 | 4642.2667 | 98.4228 |  | 4460.3046 | 3446.2526 | 5474.3566 | 4367.4192 | 4553.19
10 (14)_CT_1.txt,25.4127247615 | 9 (1)_CT_2.txt | 30.5814 | 30 | 30 | 30 | 0.33804 | 4462.1665 | 4319.8095 | 20265.5178 | 103.2954 |  | 4460.3046 | 3446.2526 | 5474.3566 | 4367.4192 | 4553.19
7 (14)_CT_0.txt,24.120552316 | 9 (11)_CT_0.txt | 29.72 | 30 | 30 | 30 | 0.078419 | 4251.6753 | 4319.8095 | 4642.2667 | 98.4228 |  | 4460.3046 | 3446.2526 | 5474.3566 | 4367.4192 | 4553.19
7 (20)_CT_1.txt,34.0272077315 | 9 (11)_CT_1.txt | 30.5814 | 30 | 30 | 30 | 0.33804 | 4462.1665 | 4319.8095 | 20265.5178 | 103.2954 |  | 4460.3046 | 3446.2526 | 5474.3566 | 4367.4192 | 4553.19
8 (14)_CT_2.txt,27.1356213555 | 9 (12)_CT_0.txt | 24.5513 | 26 | 24 | 25 | 0.20135 | 3044.4083 | 3145.4344 | 10206.2773 | 96.7882 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575
8 (11)_CT_1.txt,30.5814145435 | 9 (12)_CT_1.txt | 24.5513 | 26 | 24 | 25 | 0.20135 | 3044.4083 | 3145.4344 | 10206.2773 | 96.7882 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575
9 (3)_CT_0.txt,25.84344891 | 9 (12)_CT_2.txt | 25.4127 | 25 | 25 | 25 | 0.17034 | 3238.9909 | 3145.4344 | 8752.8141 | 102.9744 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575
9 (2)_CT_0.txt,21.536207425 | 9 (12)_CT_3.txt | 24.5513 | 26 | 24 | 25 | 0.20135 | 3044.4083 | 3145.4344 | 10206.2773 | 96.7882 |  | 3342.1504 | 2327.5291 | 4356.7717 | 3243.2433 | 3441.0575
7 (20)_CT_0.txt,34.0272077315 | 9 (2)_CT_0.txt | 21.5362 | 21 | 21 | 21 | 0.28752 | 2384.2492 | 2270.2467 | 12996.5781 | 105.0216 |  | 2508.8606 | 1493.5524 | 3524.1689 | 2403.139 | 2614.5822
9 (3)_CT_2.txt,24.551276464500003 | 9 (2)_CT_1.txt | 21.9669 | 21 | 21 | 21 | 0.93496 | 2476.5691 | 2270.2467 | 42568.9323 | 109.0881 |  | 2508.8606 | 1493.5524 | 3524.1689 | 2403.139 | 2614.5822
10 (12)_CT_5.txt,29.7199662465 | 9 (3)_CT_0.txt | 25.8434 | 26 | 26 | 26 | 0.024508 | 3337.2764 | 3373.1636 | 1287.8871 | 98.9361 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
8 (15)_CT_1.txt,34.8886560285 | 9 (3)_CT_1.txt | 25.4127 | 26 | 26 | 26 | 0.34489 | 3238.9909 | 3373.1636 | 18002.3214 | 96.0223 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
10 (16)_CT_1.txt,27.566345504 | 9 (3)_CT_2.txt | 24.5513 | 26 | 26 | 26 | 2.0988 | 3044.4083 | 3373.1636 | 108080.0649 | 90.2538 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
9 (6)_CT_3.txt,40.9187941075 | 9 (3)_CT_3.txt | 23.2591 | 26 | 26 | 26 | 7.5125 | 2757.5058 | 3373.1636 | 379034.5115 | 81.7484 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
10 (12)_CT_2.txt,31.442862840500002 | 9 (4)_CT_0.txt | 27.5663 | 27 | 29 | 28 | 0.18806 | 3737.0474 | 3839.3407 | 10463.9317 | 97.3357 |  | 4002.8373 | 2988.6013 | 5017.0734 | 3907.9637 | 4097.7109
8 (14)_CT_0.txt,26.704897207000002 | 9 (4)_CT_3.txt | 23.2591 | 26 | 26 | 26 | 7.5125 | 2757.5058 | 3373.1636 | 379034.5115 | 81.7484 |  | 3558.9775 | 2544.4982 | 4573.4568 | 3461.5377 | 3656.4173
7 (9)_CT_1.txt,24.120552316 | 9 (5)_CT_0.txt | 29.2892 | 29 | 29 | 29 | 0.083661 | 4147.424 | 4077.7887 | 4849.0827 | 101.7077 |  | 4229.87 | 3215.7338 | 5244.0063 | 4136.0693 | 4323.6707
10 (16)_CT_3.txt,28.427793801 | 9 (5)_CT_1.txt | 30.5814 | 30 | 29 | 29.5 | 1.1695 | 4462.1665 | 4198.3525 | 69597.8502 | 106.2838 |  | 4344.6621 | 3330.5699 | 5358.7542 | 4251.3396 | 4437.9846
9 (11)_CT_1.txt,30.5814145435 | 9 (6)_CT_0.txt | 44.7953 | 40 | 42 | 41 | 14.4044 | 8318.0717 | 7217.8509 | 1210485.8018 | 115.2431 |  | 7219.6078 | 6205.2295 | 8233.9861 | 7123.2253 | 7315.9902
7 (2)_CT_1.txt,28.8585179495 | 9 (6)_CT_1.txt | 43.5031 | 40 | 42 | 41 | 6.2657 | 7937.7062 | 7217.8509 | 518191.7313 | 109.9733 |  | 7219.6078 | 6205.2295 | 8233.9861 | 7123.2253 | 7315.9902
7 (17)_CT_0.txt,24.120552316 | 9 (6)_CT_2.txt | 39.6266 | 40 | 42 | 41 | 1.8862 | 6832.4042 | 7217.8509 | 148569.1117 | 94.6598 |  | 7219.6078 | 6205.2295 | 8233.9861 | 7123.2253 | 7315.9902
8 (2)_CT_0.txt,22.8283798705 | 9 (6)_CT_3.txt | 40.9188 | 40 | 42 | 41 | 0.0065944 | 7194.8725 | 7217.8509 | 528.0052 | 99.6816 |  | 7219.6078 | 6205.2295 | 8233.9861 | 7123.2253 | 7315.9902
10 (10)_CT_2.txt,21.536207425 | 9 (7)_CT_0.txt | 40.9188 | 42 | 45 | 43.5 | 6.6626 | 7194.8725 | 7936.7895 | 550440.8087 | 90.6522 |  | 7904.1286 | 6889.2881 | 8918.9691 | 7802.9972 | 8005.26
8 (9)_CT_1.txt,31.012138692 | 9 (9)_CT_0.txt | 52.1176 | 49 | 49 | 49 | 9.7196 | 10586.1617 | 9597.0585 | 978325.2087 | 110.3063 |  | 9484.9154 | 8468.4299 | 10501.4009 | 9368.4289 | 9601.4019
10 (16)_CT_7.txt,22.8283798705 | 9 (9)_CT_1.txt | 58.1478 | 50 | 50 | 50 | 66.386 | 12597.8407 | 9910.5375 | 7221598.6811 | 127.1156 |  | 9783.3872 | 8766.5009 | 10800.2736 | 9663.4533 | 9903.3211
9 (12)_CT_2.txt,25.4127247615 |  |  |  |  | RMSE (Pixel) | 1.7077 |  | RMSE (kW) | 572.5253 |  |  | 0 | -1018.1321 | 1018.1321 | -130.0736 | 130.0736
10 (4)_CT_1.txt,25.84344891 | [5 empty] | Mean kW | 5474.5692 | 5385.0715
[7 empty] | Predicted | True | Mittelwert:
[5 empty] | SUMME: | KW: | 673372.0117 | 662363.7923 | Standardabweichung: | 7.9231
[6 empty] | %: | 101.662 | 1 | 95% confidence interval | 1.4002 | 95% Prediction interval:

## Calibration_Function
PREDICTION INTERVAL
Image,Mean BB-Size | Image | Predicted Size | Correlation Function Predicted Size | True Size X | True Size Y | True Mean Size | (pred-true)^2 | Predicted Cooling Capacity [kW] | True Cooling Capacity [kW] | (pred-true)^22 | Pred for prediction interal | Prediction Interval Minimum | Prediction Interval Maximum | Confidence Interval Minimum | Confidence Interval Maximum |  |  |  |  | Formula Cooling Towers
10 (12)_CT_0.txt,31.873586989 | 10 (1)_CT_0.txt | 38.3344 | 39.9736 | 37 | 36 | 36.5 | 12.066 | 6929.1556 | 5980.0347 | 900830.5984 | 6487.801 | 5372.3393 | 7603.2626 | 6387.0003 | 6588.6016 |  |  |  |  | P(d) = 672,07*d^2 - 888,62*d + 628,64
9 (11)_CT_0.txt,29.7199662465 | 10 (1)_CT_1.txt | 37.9037 | 39.5009 | 37 | 36 | 36.5 | 9.0054 | 6797.4559 | 5980.0347 | 668177.4339 | 6487.801 | 5372.3393 | 7603.2626 | 6387.0003 | 6588.6016 |  |  |  |  | 0
9 (5)_CT_0.txt,29.289242098000003 | 10 (1)_CT_2.txt | 36.1808 | 37.61 | 35 | 35 | 35 | 6.8121 | 6278.6412 | 5583.5074 | 483211.01 | 6057.3465 | 4941.9357 | 7172.7573 | 5957.1095 | 6157.5836 |  |  |  |  | 120
8 (15)_CT_2.txt,35.750104325500004 | 10 (1)_CT_3.txt | 37.0423 | 38.5555 | 35 | 35 | 35 | 12.6412 | 6536.4517 | 5583.5074 | 908102.8331 | 6057.3465 | 4941.9357 | 7172.7573 | 5957.1095 | 6157.5836
9 (9)_CT_1.txt,58.1477600475 | 10 (1)_CT_4.txt | 37.0423 | 38.5555 | 35 | 35 | 35 | 12.6412 | 6536.4517 | 5583.5074 | 908102.8331 | 6057.3465 | 4941.9357 | 7172.7573 | 5957.1095 | 6157.5836 | Slope | 1.0856 | -3.8894 | Intercept
10 (10)_CT_1.txt,23.6898281675 | 10 (10)_CT_0.txt | 24.5513 | 24.8465 | 21 | 23 | 22 | 8.1023 | 3110.7851 | 2483.6842 | 393255.491 | 2692.3005 | 1575.5378 | 3809.0631 | 2577.9985 | 2806.6025 | Standard Error slope | 0.0095857 | 72.2802 | Standard Error intercept
5 (7)_CT_1.txt,52.1176219685 | 10 (10)_CT_1.txt | 23.6898 | 23.901 | 20 | 22 | 21 | 8.4159 | 2899.2836 | 2270.2467 | 395687.4237 | 2460.6011 | 1343.6314 | 3577.5707 | 2344.2937 | 2576.9084 | R^2 | 0.99065 | 561.1264 | Standard error Y
10 (9)_CT_1.txt,43.07241485 | 10 (10)_CT_2.txt | 21.5362 | 21.5374 | 29 | 21 | 25 | 11.9897 | 2384.5023 | 3145.4344 | 579017.659 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809 | F | 12825.2151 | 121 | degrees of freedom (n(data) - k(variables)
8 (4)_CT_1.txt,28.427793801 | 10 (10)_CT_3.txt | 21.9669 | 22.0101 | 29 | 21 | 25 | 8.9394 | 2485.8617 | 3145.4344 | 435036.1513 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809 | SS regr (unexplained variation) | 4038183939.5008 | 38098406.4043 | SS res (explained variation)
8 (16)_CT_2.txt,40.0573458105 | 10 (11)_CT_0.txt | 18.9519 | 18.701 | 19 | 19 | 19 | 0.089371 | 1793.1129 | 1854.0903 | 3718.2325 | 2008.838 | 891.4226 | 3126.2535 | 1888.3248 | 2129.3513
10 (11)_CT_0.txt,18.951862534 | 10 (12)_CT_0.txt | 31.8736 | 32.8828 | 33 | 31 | 32 | 0.77927 | 5037.4946 | 4814.5699 | 49695.3947 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368 | Number of Values | 123
8 (11)_CT_2.txt,31.442862840500002 | 10 (12)_CT_1.txt | 32.3043 | 33.3555 | 33 | 31 | 32 | 1.8373 | 5158.0163 | 4814.5699 | 117955.4053 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368 | Average X value | 5385.0715
9 (2)_CT_1.txt,21.966931573500002 | 10 (12)_CT_2.txt | 31.4429 | 32.41 | 32 | 30 | 31 | 1.9882 | 4917.7713 | 4565.4033 | 124163.2139 | 4952.1327 | 3836.6198 | 6067.6457 | 4850.7659 | 5053.4996 | Sum of squares of deviations | 3426714409.8875
8 (6)_CT_1.txt,31.873586989 | 10 (12)_CT_3.txt | 31.8736 | 32.8828 | 33 | 31 | 32 | 0.77927 | 5037.4946 | 4814.5699 | 49695.3947 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368 | Inverse Sturents t-distribution 0.95 | 1.9798
10 (6)_CT_2.txt,23.6898281675 | 10 (12)_CT_4.txt | 32.3043 | 33.3555 | 33 | 31 | 32 | 1.8373 | 5158.0163 | 4814.5699 | 117955.4053 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368 | Standard Error | 561.1264
7 (19)_CT_0.txt,32.3043111375 | 10 (12)_CT_5.txt | 29.72 | 30.5191 | 33 | 28 | 30.5 | 0.00036654 | 4446.8624 | 4442.1598 | 22.1147 | 4818.3445 | 3702.7965 | 5933.8924 | 4716.5924 | 4920.0965
7 (18)_CT_0.txt,31.012138692 | 10 (14)_CT_0.txt | 26.7049 | 27.2101 | 26 | 25 | 25.5 | 2.9244 | 3653.5114 | 3258.8524 | 155755.7764 | 3533.7925 | 2417.6585 | 4649.9266 | 3425.8045 | 3641.7805
8 (6)_CT_2.txt,33.1657594345 | 10 (14)_CT_1.txt | 25.4127 | 25.7919 | 24 | 25 | 24.5 | 1.669 | 3325.4803 | 3032.9096 | 85597.6233 | 3288.518 | 2172.2207 | 4404.8152 | 3178.8557 | 3398.1802
10 (6)_CT_1.txt,22.397655722 | 10 (16)_CT_0.txt | 28.4278 | 29.101 | 28 | 27 | 27.5 | 2.5631 | 4102.0643 | 3721.4566 | 144862.1888 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
7 (17)_CT_1.txt,22.8283798705 | 10 (16)_CT_1.txt | 27.5663 | 28.1555 | 28 | 27 | 27.5 | 0.42971 | 3876.191 | 3721.4566 | 23942.7298 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
8 (2)_CT_1.txt,22.397655722 | 10 (16)_CT_2.txt | 27.9971 | 28.6282 | 28 | 27 | 27.5 | 1.2729 | 3988.7284 | 3721.4566 | 71434.2181 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
25 (6)_CT_0.txt,24.120552316 | 10 (16)_CT_3.txt | 28.4278 | 29.101 | 28 | 27 | 27.5 | 2.5631 | 4102.0643 | 3721.4566 | 144862.1888 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
10 (6)_CT_0.txt,22.8283798705 | 10 (16)_CT_4.txt | 27.1356 | 27.6828 | 28 | 27 | 27.5 | 0.033417 | 3764.452 | 3721.4566 | 1848.6039 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
10 (12)_CT_1.txt,32.3043111375 | 10 (16)_CT_5.txt | 27.5663 | 28.1555 | 28 | 26 | 27 | 1.3352 | 3876.191 | 3604.4657 | 73834.6296 | 3908.9767 | 2793.0605 | 5024.8929 | 3803.2643 | 4014.6892
10 (1)_CT_3.txt,37.042276771000004 | 10 (16)_CT_6.txt | 23.2591 | 23.4283 | 24 | 25 | 24.5 | 1.1486 | 2794.7304 | 3032.9096 | 56729.3189 | 3288.518 | 2172.2207 | 4404.8152 | 3178.8557 | 3398.1802
10 (16)_CT_0.txt,28.427793801 | 10 (16)_CT_7.txt | 22.8284 | 22.9556 | 23 | 24 | 23.5 | 0.29641 | 2690.9758 | 2810.5398 | 14295.555 | 3047.122 | 1930.648 | 4163.596 | 2935.6753 | 3158.5687
7 (16)_CT_1.txt,30.5814145435 | 10 (4)_CT_0.txt | 27.9971 | 28.6282 | 29 | 26 | 27.5 | 1.2729 | 3988.7284 | 3721.4566 | 71434.2181 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
10 (1)_CT_1.txt,37.903725068 | 10 (4)_CT_1.txt | 25.8434 | 26.2646 | 27 | 23 | 25 | 1.5993 | 3434.0256 | 3145.4344 | 83284.8939 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809
6 (6)_CT_0.txt,102.0816231945 | 10 (4)_CT_2.txt | 29.2892 | 30.0464 | 28 | 27 | 27.5 | 6.4843 | 4331.1312 | 3721.4566 | 371703.1811 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013 |  |  |  |  | 0
7 (3)_CT_0.txt,37.4730009195 | 10 (6)_CT_0.txt | 22.8284 | 22.9556 | 23 | 23 | 23 | 0.0019746 | 2690.9758 | 2700.6947 | 94.4578 | 2927.8785 | 1811.3113 | 4044.4457 | 2815.5023 | 3040.2547 |  |  |  |  | 60000
8 (9)_CT_2.txt,31.873586989 | 10 (6)_CT_1.txt | 22.3977 | 22.4828 | 23 | 22 | 22.5 | 0.00029446 | 2588.0195 | 2591.7428 | 13.8633 | 2809.6047 | 1692.9413 | 3926.2681 | 2696.2762 | 2922.9331
7 (9)_CT_0.txt,25.4127247615 | 10 (6)_CT_2.txt | 23.6898 | 23.901 | 23 | 23 | 23 | 0.81182 | 2899.2836 | 2700.6947 | 39437.536 | 2927.8785 | 1811.3113 | 4044.4457 | 2815.5023 | 3040.2547
7 (18)_CT_1.txt,31.012138692 | 10 (8)_CT_0.txt | 25.8434 | 26.2646 | 27 | 25 | 26 | 0.070029 | 3434.0256 | 3373.1636 | 3704.1852 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
8 (5)_CT_2.txt,33.1657594345 | 10 (9)_CT_0.txt | 42.211 | 44.2281 | 38 | 40 | 39 | 27.3334 | 8150.3828 | 6658.7781 | 2224884.6128 | 7224.6181 | 6108.9517 | 8340.2844 | 7121.5766 | 7327.6595
10 (9)_CT_0.txt,42.210966553 | 10 (9)_CT_1.txt | 43.0724 | 45.1736 | 39 | 40 | 39.5 | 32.1896 | 8430.5493 | 6797.2064 | 2667809.0074 | 7374.8904 | 6259.1641 | 8490.6168 | 7271.2013 | 7478.5796
10 (16)_CT_5.txt,27.566345504 | 10 (9)_CT_2.txt | 33.1658 | 34.3009 | 28 | 31 | 29.5 | 23.049 | 5401.455 | 4198.3525 | 1447455.7768 | 4553.6769 | 3438.0451 | 5669.3086 | 4451.0101 | 4656.3436
8 (5)_CT_1.txt,35.750104325500004 | 10 (9)_CT_3.txt | 33.1658 | 34.3009 | 29 | 31 | 30 | 18.4981 | 5401.455 | 4319.8095 | 1169957.0453 | 4685.5258 | 3569.9382 | 5801.1135 | 4583.3399 | 4787.7118
9 (6)_CT_2.txt,39.626621662 | 25 (6)_CT_0.txt | 24.1206 | 24.3737 | 25 | 24 | 24.5 | 0.015943 | 3004.6351 | 3032.9096 | 799.4479 | 3288.518 | 2172.2207 | 4404.8152 | 3178.8557 | 3398.1802
10 (16)_CT_2.txt,27.997069652500002 | 5 (6)_CT_0.txt | 45.226 | 47.5372 | 44 | 45 | 44.5 | 9.2246 | 9144.9382 | 8230.6175 | 835982.3052 | 8930.9451 | 7814.2342 | 10047.656 | 8817.1498 | 9044.7405
10 (16)_CT_4.txt,27.1356213555 | 5 (6)_CT_1.txt | 45.226 | 47.5372 | 44 | 45 | 44.5 | 9.2246 | 9144.9382 | 8230.6175 | 835982.3052 | 8930.9451 | 7814.2342 | 10047.656 | 8817.1498 | 9044.7405
7 (13)_CT_0.txt,25.4127247615 | 5 (7)_CT_0.txt | 50.3947 | 53.2099 | 51 | 51 | 51 | 4.8836 | 10940.9114 | 10227.5895 | 508828.2307 | 11098.7793 | 9979.5955 | 12217.9631 | 10962.8435 | 11234.7151
5 (7)_CT_0.txt,50.3947253745 | 5 (7)_CT_1.txt | 52.1176 | 55.1008 | 51 | 51 | 51 | 16.8164 | 11565.1189 | 10227.5895 | 1788985.1242 | 11098.7793 | 9979.5955 | 12217.9631 | 10962.8435 | 11234.7151
6 (5)_CT_0.txt,104.235243937 | 6 (5)_CT_0.txt | 104.2352 | 112.3004 | 105 | 105 | 105 | 53.2954 | 36485.5264 | 32654.1664 | 14679319.6303 | 35444.1888 | 34214.584 | 36673.7935 | 34917.0892 | 35971.2884
9 (5)_CT_1.txt,30.5814145435 | 6 (6)_CT_0.txt | 102.0816 | 109.9367 | 105 | 105 | 105 | 24.3715 | 35224.2127 | 32654.1664 | 6605137.9726 | 35444.1888 | 34214.584 | 36673.7935 | 34917.0892 | 35971.2884
8 (5)_CT_3.txt,34.8886560285 | 6 (6)_CT_1.txt | 96.9129 | 104.2641 | 105 | 105 | 105 | 0.5416 | 32278.4996 | 32654.1664 | 141125.5004 | 35444.1888 | 34214.584 | 36673.7935 | 34917.0892 | 35971.2884
10 (8)_CT_0.txt,25.84344891 | 6 (8)_CT_0.txt | 103.8045 | 111.8276 | 105 | 105 | 105 | 46.6167 | 36231.6668 | 32654.1664 | 12798509.2377 | 35444.1888 | 34214.584 | 36673.7935 | 34917.0892 | 35971.2884
10 (4)_CT_2.txt,29.289242098000003 | 7 (13)_CT_0.txt | 25.4127 | 25.7919 | 25 | 24 | 24.5 | 1.669 | 3325.4803 | 3032.9096 | 85597.6233 | 3288.518 | 2172.2207 | 4404.8152 | 3178.8557 | 3398.1802
9 (3)_CT_1.txt,25.4127247615 | 7 (14)_CT_0.txt | 24.1206 | 24.3737 | 24 | 23 | 23.5 | 0.76341 | 3004.6351 | 2810.5398 | 37672.9973 | 3047.122 | 1930.648 | 4163.596 | 2935.6753 | 3158.5687
8 (16)_CT_0.txt,39.626621662 | 7 (15)_CT_0.txt | 25.4127 | 25.7919 | 25 | 24 | 24.5 | 1.669 | 3325.4803 | 3032.9096 | 85597.6233 | 3288.518 | 2172.2207 | 4404.8152 | 3178.8557 | 3398.1802
10 (10)_CT_3.txt,21.966931573500002 | 7 (15)_CT_1.txt | 23.2591 | 23.4283 | 24 | 24 | 24 | 0.32685 | 2794.7304 | 2921.2781 | 16014.3053 | 3167.3352 | 2050.9511 | 4283.7192 | 3056.7936 | 3277.8767
10 (12)_CT_4.txt,32.3043111375 | 7 (16)_CT_0.txt | 31.4429 | 32.41 | 31 | 30 | 30.5 | 3.6483 | 4917.7713 | 4442.1598 | 226206.2993 | 4818.3445 | 3702.7965 | 5933.8924 | 4716.5924 | 4920.0965
8 (6)_CT_0.txt,31.442862840500002 | 7 (16)_CT_1.txt | 30.5814 | 31.4646 | 31 | 30 | 30.5 | 0.93044 | 4680.72 | 4442.1598 | 56910.9698 | 4818.3445 | 3702.7965 | 5933.8924 | 4716.5924 | 4920.0965
10 (9)_CT_4.txt,33.1657594345 | 7 (16)_CT_2.txt | 29.2892 | 30.0464 | 29 | 28 | 28.5 | 2.3914 | 4331.1312 | 3958.1181 | 139138.8263 | 4292.8879 | 3177.1547 | 5408.621 | 4189.1256 | 4396.6501
7 (16)_CT_0.txt,31.442862840500002 | 7 (17)_CT_0.txt | 24.1206 | 24.3737 | 23 | 23 | 23 | 1.8871 | 3004.6351 | 2700.6947 | 92379.7723 | 2927.8785 | 1811.3113 | 4044.4457 | 2815.5023 | 3040.2547
10 (14)_CT_0.txt,26.704897207000002 | 7 (17)_CT_1.txt | 22.8284 | 22.9556 | 23 | 23 | 23 | 0.0019746 | 2690.9758 | 2700.6947 | 94.4578 | 2927.8785 | 1811.3113 | 4044.4457 | 2815.5023 | 3040.2547
8 (4)_CT_0.txt,29.289242098000003 | 7 (18)_CT_0.txt | 31.0121 | 31.9373 | 30 | 31 | 30.5 | 2.0659 | 4798.8464 | 4442.1598 | 127225.3562 | 4818.3445 | 3702.7965 | 5933.8924 | 4716.5924 | 4920.0965
9 (1)_CT_2.txt,30.5814145435 | 7 (18)_CT_1.txt | 31.0121 | 31.9373 | 30 | 31 | 30.5 | 2.0659 | 4798.8464 | 4442.1598 | 127225.3562 | 4818.3445 | 3702.7965 | 5933.8924 | 4716.5924 | 4920.0965
8 (9)_CT_3.txt,31.012138692 | 7 (19)_CT_0.txt | 32.3043 | 33.3555 | 31 | 31 | 31 | 5.5483 | 5158.0163 | 4565.4033 | 351190.2028 | 4952.1327 | 3836.6198 | 6067.6457 | 4850.7659 | 5053.4996
10 (1)_CT_0.txt,38.334449216500005 | 7 (19)_CT_1.txt | 31.4429 | 32.41 | 31 | 31 | 31 | 1.9882 | 4917.7713 | 4565.4033 | 124163.2139 | 4952.1327 | 3836.6198 | 6067.6457 | 4850.7659 | 5053.4996
8 (9)_CT_0.txt,31.012138692 | 7 (2)_CT_0.txt | 28.8585 | 29.5737 | 28 | 28 | 28 | 2.4765 | 4216.1985 | 3839.3407 | 142021.8113 | 4163.9478 | 3048.1577 | 5279.7379 | 4059.5747 | 4268.321
8 (7)_CT_0.txt,32.735035286 | 7 (2)_CT_1.txt | 28.8585 | 29.5737 | 28 | 28 | 28 | 2.4765 | 4216.1985 | 3839.3407 | 142021.8113 | 4163.9478 | 3048.1577 | 5279.7379 | 4059.5747 | 4268.321
10 (16)_CT_6.txt,23.259104019000002 | 7 (20)_CT_0.txt | 34.0272 | 35.2464 | 34 | 34 | 34 | 1.5535 | 5648.0875 | 5323.622 | 105277.8674 | 5775.2252 | 4659.8201 | 6890.6302 | 5675.0521 | 5875.3982
7 (15)_CT_1.txt,23.259104019000002 | 7 (20)_CT_1.txt | 34.0272 | 35.2464 | 34 | 34 | 34 | 1.5535 | 5648.0875 | 5323.622 | 105277.8674 | 5775.2252 | 4659.8201 | 6890.6302 | 5675.0521 | 5875.3982
8 (15)_CT_0.txt,34.457931880000004 | 7 (20)_CT_2.txt | 34.8887 | 36.1918 | 34 | 34 | 34 | 4.8041 | 5897.9137 | 5323.622 | 329810.952 | 5775.2252 | 4659.8201 | 6890.6302 | 5675.0521 | 5875.3982
9 (6)_CT_0.txt,44.795311444 | 7 (20)_CT_3.txt | 34.4579 | 35.7191 | 34 | 34 | 34 | 2.9553 | 5772.6014 | 5323.622 | 201582.4908 | 5775.2252 | 4659.8201 | 6890.6302 | 5675.0521 | 5875.3982
7 (2)_CT_0.txt,28.8585179495 | 7 (3)_CT_0.txt | 37.473 | 39.0282 | 36 | 36 | 36 | 9.1698 | 6666.5546 | 5846.9657 | 671725.9362 | 6343.3465 | 5227.9076 | 7458.7854 | 6242.7974 | 6443.8956
10 (12)_CT_3.txt,31.873586989 | 7 (4)_CT_0.txt | 21.5362 | 21.5374 | 20 | 20 | 20 | 2.3636 | 2384.5023 | 2060.382 | 105053.9534 | 2232.7802 | 1115.5927 | 3349.9678 | 2114.3991 | 2351.1614
8 (11)_CT_0.txt,31.873586989 | 7 (4)_CT_1.txt | 20.6748 | 20.5919 | 20 | 20 | 20 | 0.3504 | 2184.1788 | 2060.382 | 15325.642 | 2232.7802 | 1115.5927 | 3349.9678 | 2114.3991 | 2351.1614
7 (16)_CT_2.txt,29.289242098000003 | 7 (9)_CT_0.txt | 25.4127 | 25.7919 | 25 | 25 | 25 | 0.62712 | 3325.4803 | 3145.4344 | 32416.5455 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809
7 (15)_CT_0.txt,25.4127247615 | 7 (9)_CT_1.txt | 24.1206 | 24.3737 | 24 | 24 | 24 | 0.13968 | 3004.6351 | 2921.2781 | 6948.3935 | 3167.3352 | 2050.9511 | 4283.7192 | 3056.7936 | 3277.8767
10 (10)_CT_0.txt,24.551276464500003 | 8 (11)_CT_0.txt | 31.8736 | 32.8828 | 32 | 32 | 32 | 0.77927 | 5037.4946 | 4814.5699 | 49695.3947 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368
9 (4)_CT_3.txt,23.259104019000002 | 8 (11)_CT_1.txt | 30.5814 | 31.4646 | 31 | 32 | 31.5 | 0.0012537 | 4680.72 | 4689.54 | 77.7925 | 5086.8907 | 3971.4081 | 6202.3732 | 4985.8585 | 5187.9229
6 (6)_CT_1.txt,96.91293341250001 | 8 (11)_CT_2.txt | 31.4429 | 32.41 | 31 | 32 | 31.5 | 0.82817 | 4917.7713 | 4689.54 | 52089.5219 | 5086.8907 | 3971.4081 | 6202.3732 | 4985.8585 | 5187.9229
8 (5)_CT_0.txt,34.8886560285 | 8 (14)_CT_0.txt | 26.7049 | 27.2101 | 26 | 26 | 26 | 1.4643 | 3653.5114 | 3373.1636 | 78594.9154 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
10 (1)_CT_2.txt,36.180828474 | 8 (14)_CT_1.txt | 26.2742 | 26.7374 | 24 | 25 | 24.5 | 5.0058 | 3543.3693 | 3032.9096 | 260569.0885 | 3288.518 | 2172.2207 | 4404.8152 | 3178.8557 | 3398.1802
5 (6)_CT_0.txt,45.226035592500004 | 8 (14)_CT_2.txt | 27.1356 | 27.6828 | 26 | 26 | 26 | 2.8318 | 3764.452 | 3373.1636 | 153106.6179 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
9 (1)_CT_1.txt,29.7199662465 | 8 (15)_CT_0.txt | 34.4579 | 35.7191 | 33 | 34 | 33.5 | 4.9244 | 5772.6014 | 5195.0191 | 333601.2488 | 5635.619 | 4520.2087 | 6751.0293 | 5535.3878 | 5735.8502
9 (1)_CT_0.txt,30.150690395 | 8 (15)_CT_1.txt | 34.8887 | 36.1918 | 34 | 35 | 34.5 | 2.8623 | 5897.9137 | 5453.1181 | 197843.1366 | 5915.801 | 4800.3958 | 7031.2062 | 5815.6264 | 6015.9756
8 (14)_CT_1.txt,26.2741730585 | 8 (15)_CT_2.txt | 35.7501 | 37.1373 | 34 | 35 | 34.5 | 6.9552 | 6150.9336 | 5453.1181 | 486946.499 | 5915.801 | 4800.3958 | 7031.2062 | 5815.6264 | 6015.9756
7 (4)_CT_1.txt,20.674759128 | 8 (16)_CT_0.txt | 39.6266 | 41.3918 | 37 | 39 | 38 | 11.5043 | 7329.0455 | 6384.601 | 891975.3214 | 6926.9823 | 5811.4165 | 8042.548 | 6825.0358 | 7028.9287
9 (6)_CT_1.txt,43.5031389985 | 8 (16)_CT_1.txt | 40.0573 | 41.8645 | 38 | 39 | 38.5 | 11.32 | 7463.9389 | 6521.2429 | 888675.787 | 7075.3153 | 5959.7025 | 8190.9282 | 6972.8547 | 7177.776
10 (1)_CT_4.txt,37.042276771000004 | 8 (16)_CT_2.txt | 40.0573 | 41.8645 | 38 | 39 | 38.5 | 11.32 | 7463.9389 | 6521.2429 | 888675.787 | 7075.3153 | 5959.7025 | 8190.9282 | 6972.8547 | 7177.776
5 (6)_CT_1.txt,45.226035592500004 | 8 (2)_CT_0.txt | 22.8284 | 22.9556 | 23 | 21 | 22 | 0.9131 | 2690.9758 | 2483.6842 | 42969.7797 | 2692.3005 | 1575.5378 | 3809.0631 | 2577.9985 | 2806.6025
10 (4)_CT_0.txt,27.997069652500002 | 8 (2)_CT_1.txt | 22.3977 | 22.4828 | 23 | 21 | 22 | 0.23313 | 2588.0195 | 2483.6842 | 10885.8501 | 2692.3005 | 1575.5378 | 3809.0631 | 2577.9985 | 2806.6025
9 (12)_CT_1.txt,24.551276464500003 | 8 (4)_CT_0.txt | 29.2892 | 30.0464 | 27 | 28 | 27.5 | 6.4843 | 4331.1312 | 3721.4566 | 371703.1811 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
9 (12)_CT_3.txt,24.551276464500003 | 8 (4)_CT_1.txt | 28.4278 | 29.101 | 27 | 28 | 27.5 | 2.5631 | 4102.0643 | 3721.4566 | 144862.1888 | 4035.9775 | 2920.1263 | 5151.8286 | 3930.9536 | 4141.0013
7 (20)_CT_3.txt,34.457931880000004 | 8 (5)_CT_0.txt | 34.8887 | 36.1918 | 34 | 35 | 34.5 | 2.8623 | 5897.9137 | 5453.1181 | 197843.1366 | 5915.801 | 4800.3958 | 7031.2062 | 5815.6264 | 6015.9756
9 (7)_CT_0.txt,40.9187941075 | 8 (5)_CT_1.txt | 35.7501 | 37.1373 | 35 | 36 | 35.5 | 2.6807 | 6150.9336 | 5714.7899 | 190221.3003 | 6199.8617 | 5084.4397 | 7315.2837 | 6099.5002 | 6300.2232
10 (9)_CT_3.txt,33.1657594345 | 8 (5)_CT_2.txt | 33.1658 | 34.3009 | 35 | 35 | 35 | 0.48869 | 5401.455 | 5583.5074 | 33143.0575 | 6057.3465 | 4941.9357 | 7172.7573 | 5957.1095 | 6157.5836
10 (9)_CT_2.txt,33.1657594345 | 8 (6)_CT_0.txt | 31.4429 | 32.41 | 32 | 32 | 32 | 0.16813 | 4917.7713 | 4814.5699 | 10650.5174 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368
9 (3)_CT_3.txt,23.259104019000002 | 8 (6)_CT_1.txt | 31.8736 | 32.8828 | 32 | 32 | 32 | 0.77927 | 5037.4946 | 4814.5699 | 49695.3947 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368
7 (19)_CT_1.txt,31.442862840500002 | 8 (6)_CT_2.txt | 33.1658 | 34.3009 | 33 | 34 | 33.5 | 0.6415 | 5401.455 | 5195.0191 | 42615.782 | 5635.619 | 4520.2087 | 6751.0293 | 5535.3878 | 5735.8502
8 (16)_CT_1.txt,40.0573458105 | 8 (7)_CT_0.txt | 32.735 | 33.8282 | 32 | 30 | 31 | 7.9988 | 5279.3364 | 4565.4033 | 509700.5932 | 4952.1327 | 3836.6198 | 6067.6457 | 4850.7659 | 5053.4996
6 (8)_CT_0.txt,103.8045197885 | 8 (9)_CT_0.txt | 31.0121 | 31.9373 | 30 | 31 | 30.5 | 2.0659 | 4798.8464 | 4442.1598 | 127225.3562 | 4818.3445 | 3702.7965 | 5933.8924 | 4716.5924 | 4920.0965
7 (4)_CT_0.txt,21.536207425 | 8 (9)_CT_1.txt | 31.0121 | 31.9373 | 31 | 31 | 31 | 0.87856 | 4798.8464 | 4565.4033 | 54495.7018 | 4952.1327 | 3836.6198 | 6067.6457 | 4850.7659 | 5053.4996
7 (20)_CT_2.txt,34.8886560285 | 8 (9)_CT_2.txt | 31.8736 | 32.8828 | 33 | 31 | 32 | 0.77927 | 5037.4946 | 4814.5699 | 49695.3947 | 5222.6183 | 4107.1613 | 6338.0753 | 5121.8686 | 5323.368
9 (12)_CT_0.txt,24.551276464500003 | 8 (9)_CT_3.txt | 31.0121 | 31.9373 | 32 | 31 | 31.5 | 0.19125 | 4798.8464 | 4689.54 | 11947.8947 | 5086.8907 | 3971.4081 | 6202.3732 | 4985.8585 | 5187.9229
9 (9)_CT_0.txt,52.1176219685 | 9 (1)_CT_0.txt | 30.1507 | 30.9919 | 30 | 30 | 30 | 0.9838 | 4563.392 | 4319.8095 | 59332.4157 | 4685.5258 | 3569.9382 | 5801.1135 | 4583.3399 | 4787.7118
9 (4)_CT_0.txt,27.566345504 | 9 (1)_CT_1.txt | 29.72 | 30.5191 | 30 | 30 | 30 | 0.26951 | 4446.8624 | 4319.8095 | 16142.4365 | 4685.5258 | 3569.9382 | 5801.1135 | 4583.3399 | 4787.7118
10 (14)_CT_1.txt,25.4127247615 | 9 (1)_CT_2.txt | 30.5814 | 31.4646 | 30 | 30 | 30 | 2.145 | 4680.72 | 4319.8095 | 130256.3641 | 4685.5258 | 3569.9382 | 5801.1135 | 4583.3399 | 4787.7118
7 (14)_CT_0.txt,24.120552316 | 9 (11)_CT_0.txt | 29.72 | 30.5191 | 30 | 30 | 30 | 0.26951 | 4446.8624 | 4319.8095 | 16142.4365 | 4685.5258 | 3569.9382 | 5801.1135 | 4583.3399 | 4787.7118
7 (20)_CT_1.txt,34.0272077315 | 9 (11)_CT_1.txt | 30.5814 | 31.4646 | 30 | 30 | 30 | 2.145 | 4680.72 | 4319.8095 | 130256.3641 | 4685.5258 | 3569.9382 | 5801.1135 | 4583.3399 | 4787.7118
8 (14)_CT_2.txt,27.1356213555 | 9 (12)_CT_0.txt | 24.5513 | 24.8465 | 26 | 24 | 25 | 0.023575 | 3110.7851 | 3145.4344 | 1200.5735 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809
8 (11)_CT_1.txt,30.5814145435 | 9 (12)_CT_1.txt | 24.5513 | 24.8465 | 26 | 24 | 25 | 0.023575 | 3110.7851 | 3145.4344 | 1200.5735 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809
9 (3)_CT_0.txt,25.84344891 | 9 (12)_CT_2.txt | 25.4127 | 25.7919 | 25 | 25 | 25 | 0.62712 | 3325.4803 | 3145.4344 | 32416.5455 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809
9 (2)_CT_0.txt,21.536207425 | 9 (12)_CT_3.txt | 24.5513 | 24.8465 | 26 | 24 | 25 | 0.023575 | 3110.7851 | 3145.4344 | 1200.5735 | 3410.6704 | 2294.4565 | 4526.8843 | 3301.8599 | 3519.4809
7 (20)_CT_0.txt,34.0272077315 | 9 (2)_CT_0.txt | 21.5362 | 21.5374 | 21 | 21 | 21 | 0.28879 | 2384.5023 | 2270.2467 | 13054.347 | 2460.6011 | 1343.6314 | 3577.5707 | 2344.2937 | 2576.9084
9 (3)_CT_2.txt,24.551276464500003 | 9 (2)_CT_1.txt | 21.9669 | 22.0101 | 21 | 21 | 21 | 1.0203 | 2485.8617 | 2270.2467 | 46489.8353 | 2460.6011 | 1343.6314 | 3577.5707 | 2344.2937 | 2576.9084
10 (12)_CT_5.txt,29.7199662465 | 9 (3)_CT_0.txt | 25.8434 | 26.2646 | 26 | 26 | 26 | 0.070029 | 3434.0256 | 3373.1636 | 3704.1852 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
8 (15)_CT_1.txt,34.8886560285 | 9 (3)_CT_1.txt | 25.4127 | 25.7919 | 26 | 26 | 26 | 0.043303 | 3325.4803 | 3373.1636 | 2273.6924 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
10 (16)_CT_1.txt,27.566345504 | 9 (3)_CT_2.txt | 24.5513 | 24.8465 | 26 | 26 | 26 | 1.3307 | 3110.7851 | 3373.1636 | 68842.4763 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
9 (6)_CT_3.txt,40.9187941075 | 9 (3)_CT_3.txt | 23.2591 | 23.4283 | 26 | 26 | 26 | 6.6137 | 2794.7304 | 3373.1636 | 334584.8977 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
10 (12)_CT_2.txt,31.442862840500002 | 9 (4)_CT_0.txt | 27.5663 | 28.1555 | 27 | 29 | 28 | 0.024188 | 3876.191 | 3839.3407 | 1357.9415 | 4163.9478 | 3048.1577 | 5279.7379 | 4059.5747 | 4268.321
8 (14)_CT_0.txt,26.704897207000002 | 9 (4)_CT_3.txt | 23.2591 | 23.4283 | 26 | 26 | 26 | 6.6137 | 2794.7304 | 3373.1636 | 334584.8977 | 3657.8843 | 2541.8265 | 4773.942 | 3550.688 | 3765.0806
7 (9)_CT_1.txt,24.120552316 | 9 (5)_CT_0.txt | 29.2892 | 30.0464 | 29 | 29 | 29 | 1.095 | 4331.1312 | 4077.7887 | 64182.4682 | 4422.7975 | 3307.1172 | 5538.4778 | 4319.6047 | 4525.9903
10 (16)_CT_3.txt,28.427793801 | 9 (5)_CT_1.txt | 30.5814 | 31.4646 | 30 | 29 | 29.5 | 3.8596 | 4680.72 | 4198.3525 | 232678.4067 | 4553.6769 | 3438.0451 | 5669.3086 | 4451.0101 | 4656.3436
9 (11)_CT_1.txt,30.5814145435 | 9 (6)_CT_0.txt | 44.7953 | 47.0645 | 40 | 42 | 41 | 36.7779 | 9000.4636 | 7217.8509 | 3177708.0393 | 7831.5255 | 6715.5789 | 8947.4721 | 7725.4924 | 7937.5586
7 (2)_CT_1.txt,28.8585179495 | 9 (6)_CT_1.txt | 43.5031 | 45.6463 | 40 | 42 | 41 | 21.5882 | 8571.8302 | 7217.8509 | 1833260.1305 | 7831.5255 | 6715.5789 | 8947.4721 | 7725.4924 | 7937.5586
7 (17)_CT_0.txt,24.120552316 | 9 (6)_CT_2.txt | 39.6266 | 41.3918 | 40 | 42 | 41 | 0.1535 | 7329.0455 | 7217.8509 | 12364.2427 | 7831.5255 | 6715.5789 | 8947.4721 | 7725.4924 | 7937.5586
8 (2)_CT_0.txt,22.8283798705 | 9 (6)_CT_3.txt | 40.9188 | 42.81 | 40 | 42 | 41 | 3.276 | 7736.1212 | 7217.8509 | 268604.1313 | 7831.5255 | 6715.5789 | 8947.4721 | 7725.4924 | 7937.5586
10 (10)_CT_2.txt,21.536207425 | 9 (7)_CT_0.txt | 40.9188 | 42.81 | 42 | 45 | 43.5 | 0.47615 | 7736.1212 | 7936.7895 | 40267.7635 | 8611.977 | 7495.5218 | 9728.4321 | 8500.7194 | 8723.2345
8 (9)_CT_1.txt,31.012138692 | 9 (9)_CT_0.txt | 52.1176 | 55.1008 | 49 | 49 | 49 | 37.2196 | 11565.1189 | 9597.0585 | 3873262.074 | 10414.2996 | 9296.0348 | 11532.5645 | 10286.1495 | 10542.4498
10 (16)_CT_7.txt,22.8283798705 | 9 (9)_CT_1.txt | 58.1478 | 61.7189 | 50 | 50 | 50 | 137.333 | 13850.4475 | 9910.5375 | 15522890.6721 | 10754.6002 | 9635.8943 | 11873.306 | 10622.6575 | 10886.5429
9 (12)_CT_2.txt,25.4127247615 | [5 empty] | RMSE (Pixel) | 2.5435 |  | RMSE (kW) | 849.9492 | 0 | -1120.0762 | 1120.0762 | -143.0977 | 143.0977
10 (4)_CT_1.txt,25.84344891 | [6 empty] | Mean kW | 5841.9323 | 5385.0715
[8 empty] | Predicted | True | Standardabweichung:
[6 empty] | SUMME: | KW: | 718557.6757 | 662363.7923 | Confidence:
[7 empty] | %: | 108.4838 | 100%