## Bruehl_ACCs
Vents | [5 empty] | Cooling Capacity | [8 empty] | ACCs
Ground Truth | Detected | True Positive | False Positive | False Negative |  | Ground Truth | Detected Whole | True Positive | False Positive | False Negative |  |  |  |  | Installed | Detected | False Positive | False Negative
12 | 0 | 0 | 0 | 12 |  | 681.695 | 0 | 0 | 0 | 681.695 | 1548.101 | 62.123 | 1363.39 |  | 1 | 0 | 0 | 1
12 | 12 | 12 | 0 | 0 |  | 681.695 | 681.695 | 681.695 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
12 | 13 | 12 | 1 | 0 |  | 681.695 | 743.818 | 681.695 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0 | 0
12 | 0 | 0 | 0 | 12 |  | 681.695 | 0 | 0 | 0 | 681.695 |  |  |  |  | 1 | 0 | 0 | 1
3 | 5 | 3 | 2 | 0 |  | 122.588 | 246.834 | 122.588 | 124.246 | 0 | 2033.479 | 434.861 | 1611.882 |  | 1 | 1 | 0 | 0
2 | 4 | 2 | 2 | 0 |  | 60.465 | 184.711 | 60.465 | 124.246 | 0 |  |  |  |  | 1 | 1 | 0 | 0
10 | 7 | 7 | 0 | 3 |  | 557.449 | 371.08 | 371.08 | 0 | 186.369 |  |  |  |  | 1 | 1 | 0 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 5 | 3 | 2 | 0 |  | 122.588 | 246.834 | 122.588 | 124.246 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 0 | 0 | 0 | 4 |  | 184.711 | 0 | 0 | 0 | 184.711 |  |  |  |  | 1 | 0 | 0 | 1
12 | 0 | 0 | 0 | 12 |  | 681.695 | 0 | 0 | 0 | 681.695 |  |  |  |  | 1 | 0 | 0 | 1
12 | 3 | 3 | 0 | 9 |  | 681.695 | 122.588 | 122.588 | 0 | 559.107 |  |  |  |  | 1 | 1 | 0 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 7 | 6 | 1 | 0 |  | 308.957 | 371.08 | 308.957 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 | 493.668 | 0 | 0 |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 | 490.352 | 248.492 | 62.123 |  | 1 | 1 | 0 | 0
3 | 5 | 3 | 2 | 0 |  | 122.588 | 246.834 | 122.588 | 124.246 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 5 | 3 | 2 | 0 |  | 122.588 | 246.834 | 122.588 | 124.246 | 0 |  |  |  |  | 1 | 1 | 0 | 0
5 | 4 | 4 | 0 | 1 |  | 246.834 | 184.711 | 184.711 | 0 | 62.123 |  |  |  |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
16 | 16 | 16 | 0 | 0 |  | 930.187 | 930.187 | 930.187 | 0 | 0 | 930.187 | 0 | 184.711 |  | 1 | 1 | 0 | 0
4 | 0 | 0 | 0 | 4 |  | 184.711 | 0 | 0 | 0 | 184.711 |  |  |  |  | 1 | 0 | 0 | 1
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 | 617.914 | 0 | 0 |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 2 | 2 | 0 | 1 |  | 122.588 | 60.465 | 60.465 | 0 | 62.123 | 60.465 | 0 | 62.123 |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 | 0 | 428.229 | 0 |  | 0 | 1 | 1 | 0
0 | 2 | 0 | 2 | 0 |  | 0 | 60.465 | 0 | 60.465 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 8 | 0 | 8 | 0 |  | 0 | 433.203 | 0 | 433.203 | 0 |  |  |  |  | 0 | 1 | 1 | 0
10 | 0 | 0 | 0 | 10 |  | 557.449 | 0 | 0 | 0 | 557.449 | 122.588 | 0 | 557.449 |  | 1 | 0 | 0 | 1
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 | 183.053 | 246.834 | 0 |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
0 | 5 | 0 | 5 | 0 |  | 0 | 246.834 | 0 | 246.834 | 0 |  |  |  |  | 0 | 1 | 1 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
9 | 10 | 9 | 1 | 0 |  | 495.326 | 557.449 | 495.326 | 62.123 | 0 | 988.994 | 124.246 | 0 |  | 1 | 1 | 0 | 0
6 | 7 | 6 | 1 | 0 |  | 308.957 | 371.08 | 308.957 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 | 60.465 | 0 | 60.465 |  | 1 | 1 | 0 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 | 369.422 | 62.123 | 0 |  | 1 | 1 | 0 | 0
4 | 5 | 4 | 1 | 0 |  | 184.711 | 246.834 | 184.711 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 2 | 2 | 0 | 1 |  | 122.588 | 60.465 | 60.465 | 0 | 62.123 | 493.668 | 0 | 62.123 |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 | 1353.442 | 0 | 184.711 |  | 1 | 1 | 0 | 0
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 5 | 5 | 0 | 1 |  | 308.957 | 246.834 | 246.834 | 0 | 62.123 |  |  |  |  | 1 | 1 | 0 | 0
4 | 3 | 3 | 0 | 1 |  | 184.711 | 122.588 | 122.588 | 0 | 62.123 |  |  |  |  | 1 | 1 | 0 | 0
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 | 3037.395 | 743.818 | 62.123 |  | 1 | 1 | 0 | 0
20 | 20 | 20 | 0 | 0 |  | 1178.679 | 1178.679 | 1178.679 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
13 | 12 | 12 | 0 | 1 |  | 743.818 | 681.695 | 681.695 | 0 | 62.123 |  |  |  |  | 1 | 1 | 0 | 0
13 | 13 | 13 | 0 | 0 |  | 743.818 | 743.818 | 743.818 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
0 | 13 | 0 | 13 | 0 |  | 0 | 743.818 | 0 | 743.818 | 0 |  |  |  |  | 0 | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 | 366.106 | 0 | 0 |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 | 0 | 0 | 241.86 |  | 1 | 0 | 0 | 1
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 4 | 0 | 4 | 0 |  | 0 | 184.711 | 0 | 184.711 | 0 |  |  |  |  | 0 | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 | 120.93 | 0 | 0 |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 | 243.518 | 62.123 | 431.545 |  | 1 | 1 | 0 | 0
2 | 3 | 2 | 1 | 0 |  | 60.465 | 122.588 | 60.465 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 3 | 3 | 0 | 1 |  | 184.711 | 122.588 | 122.588 | 0 | 62.123 |  |  |  |  | 1 | 1 | 0 | 0
4 | 0 | 0 | 0 | 4 |  | 184.711 | 0 | 0 | 0 | 184.711 |  |  |  |  | 1 | 0 | 0 | 1
4 | 0 | 0 | 0 | 4 |  | 184.711 | 0 | 0 | 0 | 184.711 |  |  |  |  | 1 | 0 | 0 | 1
12 | 12 | 12 | 0 | 0 |  | 681.695 | 681.695 | 681.695 | 0 | 0 | 1363.39 | 0 | 0 |  | 1 | 1 | 0 | 0
12 | 12 | 12 | 0 | 0 |  | 681.695 | 681.695 | 681.695 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
0 | 4 | 0 | 4 | 0 |  | 0 | 184.711 | 0 | 184.711 | 0 | 802.625 | 307.299 | 120.93 |  | 0 | 1 | 1 | 0
0 | 2 | 0 | 2 | 0 |  | 0 | 60.465 | 0 | 60.465 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 8 | 0 | 8 | 0 |  | 0 | 433.203 | 0 | 433.203 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 5 | 0 | 5 | 0 |  | 0 | 246.834 | 0 | 246.834 | 0 | [5 empty] | 1 | 1 | 0
0 | 5 | 0 | 5 | 0 |  | 0 | 246.834 | 0 | 246.834 | 0 |  |  |  |  | 0 | 1 | 1 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
5 | 0 | 0 | 0 | 5 |  | 246.834 | 0 | 0 | 0 | 246.834 |  |  |  |  | 1 | 0 | 0 | 1
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 7 | 6 | 1 | 0 |  | 308.957 | 371.08 | 308.957 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
5 | 5 | 5 | 0 | 0 |  | 246.834 | 246.834 | 246.834 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 | 1482.662 | 308.957 | 246.834 |  | 1 | 1 | 0 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
3 | 4 | 3 | 1 | 0 |  | 122.588 | 184.711 | 122.588 | 62.123 | 0 | 122.588 | 62.123 | 0 |  | 1 | 1 | 0 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 | 0 | 1
0 | 9 | 0 | 9 | 0 |  | 0 | 495.326 | 0 | 495.326 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 | 0 | 245.176 | 0 |  | 0 | 1 | 1 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1 | 0
0 | 6 | 0 | 6 | 0 |  | 0 | 308.957 | 0 | 308.957 | 0 |  |  |  |  | 0 | 1 | 1 | 0
22 | 0 | 0 | 0 | 22 |  | 1302.925 | 0 | 0 | 0 | 1302.925 | 866.406 | 0 | 1302.925 |  | 1 | 0 | 0 | 1
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
2 | 3 | 2 | 1 | 0 |  | 60.465 | 122.588 | 60.465 | 62.123 | 0 | 245.176 | 62.123 | 0 |  | 1 | 1 | 0 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0 | 0
[5 empty] | SUMME: | 25868.711 | 24814.278 | 19253.052 | 5561.226 | 6615.659 |  |  |  |  | 97 |  | 18 | 19
Total Cooling Capacities:
[9 empty] | Installed | 27512.872 |  | Image | Total Number of ACCs | True Positive ACCs | False Positive ACCs | False Negative ACCs
Additional Chillers with ~2 Fans: | [8 empty] | TP | 19253.052 |  | SUM | 117 | 78 | 18 | 39
| Image | FN ACCs | FN Fans per unit | FN Fans | FN Cooling Capacity [kW] |  |  |  | FP | 5561.226 |  |  |  | F1 | Precision | Recall
| 2 | 1 | 2 | 2 | 60.465 |  |  |  | FN | 8259.82 |  |  |  | 0.73239 | 0.8125 | 0.66667
| 2 | 1 | 3 | 3 | 122.588 | 183.053
| 3 | 2 | 2 | 4 | 120.93
| 4 | 2 | 2 | 4 | 120.93
| 5 | 5 | 2 | 10 | 302.325
| 5 | 2 | 2 | 4 | 120.93
| 6 | 1 | 2 | 2 | 60.465
| 6 | 1 | 8 | 8 | 433.203 | 493.668
| 7 | 2 | 2 | 4 | 120.93
| 7 | 1 | 2 | 2 | 60.465
| 12 | 2 | 2 | 4 | 120.93
| SUMME | 20 |  |  | 1644.161

## Bruehl_CTs
Image | TP CCs | FP CCs | Doubled CCs | FN CCs | TP Vents | FP Vents | Doubled Vents | FN Vents | TP CTs | FP CTs | FN CTs | Image | True Size of CTs (px) | Pedicted Size of CTs (px) | Actual cooling capacizty (kW) | Fan size (px) | Estimated cooling capacity (kW) | Deviation [kW] | Image
1 | 17 | 0 | 0 | 4 | 79 | 1 | 11 | 53 | 7 | 0 | 0 | 1 Pfizer | 27.5 | 28 | 4047.7873 | 28.6315 | 4335.1861 | -287.3988 | 1 Pfizer
2 | 6 | 5 | 0 | 1 | 38 | 19 | 0 | 5 | 2 | 0 | 0 | 1 Prfizer | 30.5 | 26 | 4820.8449 | 26.4364 | 3782.2368 | 1038.6081 | 1 Prfizer | True | Pred | Falsely Detected: | Not Detected: | TP:
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 Pfizer | 30.5 | 32 | 4820.8449 | 33.0215 | 5498.0221 | -677.1772 | 1 Pfizer | 13689.477 | 13615.4449 | 964.576 | 1038.6081 | 12650.8689 | 7327.0265 | 5323.8424
4 | 3 | 1 | 0 | 1 | 8 | 5 | 0 | 10 | 0 | 0 | 0 | 1 TDK | 27.5 | 28 | 4047.7873 | 28.6315 | 4335.1861 | -287.3988 | 1 TDK
5 | 1 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 TDK | 27.5 | 29 | 4047.7873 | 29.729 | 4618.7779 | -570.9906 | 1 TDK
6 | 5 | 0 | 0 | 1 | 24 | 0 | 2 | 2 | 0 | 0 | 0 | 1 TDK | 27.5 | 28 | 4047.7873 | 28.6315 | 4335.1861 | -287.3988 | 1 TDK | True | Pred | Falsely Detected: | Not Detected: | TP:
7 | 7 | 0 | 0 | 0 | 24 | 0 | 1 | 0 | 3 | 0 | 0 | 1 TDK | 27.5 | 28 | 4047.7873 | 28.6315 | 4335.1861 | -287.3988 | 1 TDK | 16191.1491 | 17624.336 | 1433.187 | 0 | 16191.1491
8 | 8 | 0 | 0 | 0 | 34 | 0 | 0 | 3 | 1 | 0 | 6 | 2 Pfizer | 18 | 20 | 1833.6576 | 19.8514 | 2237.2641 | -403.6065 | 2 Pfizer | True | Pred | Falsely Detected: | Not Detected: | TP:
9 | 13 | 0 | 1 | 1 | 74 | 0 | 13 | 2 | 0 | 0 | 0 | 2 Pfizer | 18 | 20 | 1833.6576 | 19.8514 | 2237.2641 | -403.6065 | 2 Pfizer | 3667.3152 | 4474.5281 | 807.2129 | 0 | 3667.3152
10 | 0 | 1 | 0 | 4 | 0 | 3 | 0 | 8 | 0 | 0 | 0 | 7 TDK | 19 | 20 | 2049.9826 | 19.8514 | 2237.2641 | -187.2815 | 7 TDK
11 | 0 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 7 TDK | 27.5 | 28 | 4047.7873 | 28.6315 | 4335.1861 | -287.3988 | 7 TDK | True | Pred | Falsely Detected: | Not Detected: | TP:
12 | 7 | 0 | 0 | 2 | 33 | 0 | 1 | 8 | 0 | 0 | 0 | 7 TDK | 28.5 | 29 | 4301.534 | 29.729 | 4618.7779 | -317.2439 | 7 TDK | 10399.3038 | 11191.228 | 791.9242 | 0 | 10399.3038
13 | 5 | 4 | 1 | 3 | 27 | 20 | 5 | 9 | 10 | 0 | 4 | 8 North | 19 | 21 | 2049.9826 | 20.9489 | 2482.8975 | -432.915 | 8 North | 2049.9826 | 2482.8975 | 432.915 | 0 | 2049.9826
14 | 4 | 0 | 0 | 2 | 21 | 1 | 0 | 2 | 0 | 0 | 0 | 13 North | 26.5 | 0 | 3797.9797 | 0 | 0 | 3797.9797 | 13 North
15 | 0 | 3 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 2 | 0 | 13 North | 24 | 0 | 3190.6944 | 0 | 0 | 3190.6944 | 13 North
16 | 0 | 1 | 0 | 1 | 0 | 6 | 0 | 22 | 0 | 0 | 0 | 13 North | 22 | 0 | 2722.5923 | 0 | 0 | 2722.5923 | 13 North
17 | 4 | 0 | 0 | 0 | 22 | 1 | 0 | 0 | 0 | 0 | 0 | 13 North | 25 | 29 | 3430.6541 | 29.729 | 4618.7779 | -1188.1237 | 13 North
SUMME | 80 | 16 | 2 | 20 | 387 | 75 | 33 | 124 | 23 | 2 | 10 | 13 North | 58 | 56 | 13559.1802 | 59.3617 | 14069.2885 | -510.1083 | 13 North
|  |  |  | SUMME Cooling Capacity [kW]: | 23977.82 | 4595.444 | 1986.278 | 7639.471 |  |  |  | 13 North | 57 | 56 | 13189.229 | 59.3617 | 14069.2885 | -880.0595 | 13 North
[12 empty] | 13 North | 57 | 56 | 13189.229 | 59.3617 | 14069.2885 | -880.0595 | 13 North
[12 empty] | 13 North | 56.5 | 48 | 13005.7306 | 50.5817 | 10908.533 | 2097.1976 | 13 North
GSD [m/px]: | 0.0945 | [10 empty] | 13 North | 50 | 53 | 10709.8666 | 56.0692 | 12848.4192 | -2138.5526 | 13 North
[12 empty] | 13 North | 50 | 50 | 10709.8666 | 52.7767 | 11670.2531 | -960.3865 | 13 North
[12 empty] | 13 North | 50.5 | 50 | 10880.5628 | 52.7767 | 11670.2531 | -789.6903 | 13 North
[12 empty] | 13 North | 50 | 50 | 10709.8666 | 52.7767 | 11670.2531 | -960.3865 | 13 North | Total True | Pred | Falsely Detected: | Not Detected: | TP:
[12 empty] | 13 North | 68 | 64 | 17475.3441 | 68.1418 | 17533.7108 | -58.3666 | 13 North | 126570.796 | 123128.0656 | 8365.7336 | 11808.4639 | 114762.332
|  | Additional Chillers with 2 Fans: | [9 empty] | 13 South | 20.5 | 0 | 2381.8559 | 0 | 0 | 2381.8559 | 13 South | True | Pred | Falsely Detected: | Not Detected: | TP:
|  |  | Image | FN ACCs | FN Fans per unit | FN Fans | FN Cooling Capacity [kW] |  |  |  |  | 13 South | 20.5 | 20 | 2381.8559 | 19.8514 | 2237.2641 | 144.5918 | 13 South | 4763.7118 | 2237.2641 | 0 | 2526.4477 | 2237.2641
|  |  | 2 | 1 | 2 | 2 | 60.465 |  |  |  |  | 15 | 0 | 25 | 0 | 25.3389 | 3512.8794 | -3512.8794 | 15 | True | Pred | Falsely Detected: | Not Detected: | TP:
|  |  | 2 | 1 | 3 | 3 | 122.588 | 183.053 |  |  |  | 15 | 0 | 24 | 0 | 24.2414 | 3248.2667 | -3248.2667 | 15 | 0 | 6761.1461 | 6761.1461 | 0 | 0
|  |  | 3 | 2 | 2 | 4 | 120.93 | [6 empty] | SUMME Cooling Capacity [kW]: | 177331.7354 | SUMME: | 181514.9104 | 4183.175 |  |  |  | 19556.6947 | 15373.5197 | 161958.2157
|  |  | 4 | 2 | 2 | 4 | 120.93 | [6 empty] | Mean Cooling Capacity [kW]: | 6333.2763 |  |  |  |  | Totally Installed CTs [kW] |  | Accuracy: | 0.82259
|  |  | 5 | 5 | 2 | 10 | 302.325 | [12 empty] | TOTAL TP: | 161958.2157 | Precision: | 0.89226
|  |  | 5 | 2 | 2 | 4 | 120.93 | [12 empty] | TOTAP FP: | 19556.6947 | Recall: | 0.91331
|  |  | 6 | 1 | 2 | 2 | 60.465 | [12 empty] | TOTAL FN: | 15373.5197 | F1: | 0.90266
|  |  | 6 | 1 | 8 | 8 | 433.203 | 493.668
|  |  | 7 | 2 | 2 | 4 | 120.93
|  |  | 7 | 1 | 2 | 2 | 60.465
|  |  | 12 | 2 | 2 | 4 | 120.93
|  |  | SUMME | 20 |  |  | 1644.161

## Center_ACCs
Vents | [5 empty] | Cooling Capacity | [8 empty] | ACCs
Ground Truth | Detected | True Positive | False Positive | False Negative |  | Ground Truth | Detected Whole | True Positive | False Positive | False Negative |  |  |  |  | Installed | Detected | False Positive | False Negative
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
0 | 5 | 0 | 5 | 0 |  | 0 | 246.834 | 0 | 246.834 | 0 |  |  |  |  | 0 | 1 | 1
6 | 4 | 4 | 0 | 2 |  | 308.957 | 184.711 | 184.711 | 0 | 124.246 | 369.422 | 0 | 248.492 |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 | 856.458 | 248.492 | 0 |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
3 | 4 | 3 | 1 | 0 |  | 122.588 | 184.711 | 122.588 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0
4 | 5 | 4 | 1 | 0 |  | 184.711 | 246.834 | 184.711 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0
12 | 12 | 12 | 0 | 0 |  | 681.695 | 681.695 | 681.695 | 0 | 0 | 1732.812 | 120.93 | 0 |  | 1 | 1 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
0 | 2 | 0 | 2 | 0 |  | 0 | 60.465 | 0 | 60.465 | 0 |  |  |  |  | 0 | 1 | 1
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 | 0 | 0 | 611.282 |  | 1 | 0 |  | 1
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 |  | 1
4 | 0 | 0 | 0 | 4 |  | 184.711 | 0 | 0 | 0 | 184.711 |  |  |  |  | 1 | 0 |  | 1
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
16 | 16 | 16 | 0 | 0 |  | 930.187 | 930.187 | 930.187 | 0 | 0 | 6440.896 | 124.246 | 245.176 |  | 1 | 1 | 0
16 | 16 | 16 | 0 | 0 |  | 930.187 | 930.187 | 930.187 | 0 | 0 |  |  |  |  | 1 | 1 | 0
16 | 16 | 16 | 0 | 0 |  | 930.187 | 930.187 | 930.187 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 3 | 2 | 1 | 0 |  | 60.465 | 122.588 | 60.465 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0
5 | 4 | 4 | 0 | 1 |  | 246.834 | 184.711 | 184.711 | 0 | 62.123 |  |  |  |  | 1 | 1 | 0
3 | 4 | 3 | 0 | 1 |  | 122.588 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 |  | 1
10 | 10 | 10 | 0 | 0 |  | 557.449 | 557.449 | 557.449 | 0 | 0 | 2229.796 | 120.93 | 0 |  | 1 | 1 | 0
10 | 10 | 10 | 0 | 0 |  | 557.449 | 557.449 | 557.449 | 0 | 0 |  |  |  |  | 1 | 1 | 0
0 | 2 | 0 | 2 | 0 |  | 0 | 60.465 | 0 | 60.465 | 0 |  |  |  |  | 0 | 1 | 1
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 | 738.844 | 0 | 0 |  | 1 | 1 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 | 987.336 |  |  |  | 1 | 1 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0
0 | 2 | 0 | 2 | 0 |  | 0 | 60.465 | 0 | 60.465 | 0 |  |  |  |  | 0 | 1 | 1
0 | 6 | 0 | 6 | 0 |  | 0 | 308.957 | 0 | 308.957 | 0 |  |  |  |  | 0 | 1 | 1
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
6 | 7 | 6 | 1 | 0 |  | 308.957 | 371.08 | 308.957 | 62.123 | 0 | 617.914 | 124.246 | 0 |  | 1 | 1 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 | 369.422 | 0 | 241.86 |  | 1 | 0 |  | 1
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 |  | 1
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
3 | 4 | 3 | 1 | 0 |  | 122.588 | 184.711 | 122.588 | 62.123 | 0 | 245.176 | 124.246 | 0 |  | 1 | 1 | 0
3 | 4 | 3 | 1 | 0 |  | 122.588 | 184.711 | 122.588 | 62.123 | 0 | 245.176 | 124.246 | 0 |  | 1 | 1 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0
14 | 14 | 14 | 0 | 0 |  | 805.941 | 805.941 | 805.941 | 0 | 0 |  |  |  |  | 1 | 1 | 0
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 |  |  |  |  | 1 | 1 | 0
5 | 8 | 5 | 3 | 0 |  | 246.834 | 433.203 | 246.834 | 186.369 | 0 | 987.336 | 745.476 | 369.422 |  | 1 | 1 | 0
5 | 8 | 5 | 3 | 0 |  | 246.834 | 433.203 | 246.834 | 186.369 | 0 |  |  |  |  | 1 | 1 | 0
4 | 0 | 0 | 0 | 4 |  | 184.711 | 0 | 0 | 0 | 184.711 |  |  |  |  | 1 | 0 |  | 1
0 | 2 | 0 | 2 | 0 |  | 0 | 60.465 | 0 | 60.465 | 0 |  |  |  |  | 0 | 1 | 1
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1
0 | 5 | 0 | 5 | 0 |  | 0 | 246.834 | 0 | 246.834 | 0 |  |  |  |  | 0 | 1 | 1
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 |  |  |  |  | 1 | 1 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1
0 | 4 | 0 | 4 | 0 |  | 0 | 184.711 | 0 | 184.711 | 0 | 0 | 738.844 | 0 |  | 0 | 1 | 1
6 | 4 | 4 | 0 | 2 |  | 308.957 | 184.711 | 184.711 | 0 | 124.246 | 369.422 | 0 | 248.492 |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
12 | 13 | 12 | 1 | 0 |  | 681.695 | 743.818 | 681.695 | 62.123 | 0 | 5319.366 | 3848.31 | 0 |  | 1 | 1 | 0
0 | 9 | 0 | 9 | 0 |  | 0 | 495.326 | 0 | 495.326 | 0 |  |  |  |  | 0 | 1 | 1
5 | 7 | 5 | 2 | 0 |  | 246.834 | 371.08 | 246.834 | 124.246 | 0 |  |  |  |  | 1 | 1 | 0
5 | 9 | 5 | 4 | 0 |  | 246.834 | 495.326 | 246.834 | 248.492 | 0 |  |  |  |  | 1 | 1 | 0
12 | 17 | 12 | 5 | 0 |  | 681.695 | 992.31 | 681.695 | 310.615 | 0 |  |  |  |  | 1 | 1 | 0
12 | 23 | 12 | 11 | 0 |  | 681.695 | 1365.048 | 681.695 | 683.353 | 0 |  |  |  |  | 1 | 1 | 0
0 | 4 | 0 | 4 | 0 |  | 0 | 184.711 | 0 | 184.711 | 0 |  |  |  |  | 0 | 1 | 1
8 | 8 | 8 | 0 | 0 |  | 433.203 | 433.203 | 433.203 | 0 | 0 |  |  |  |  | 1 | 1 | 0
12 | 12 | 12 | 0 | 0 |  | 681.695 | 681.695 | 681.695 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 | 120.93 | 245.176 | 0 |  | 1 | 1 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
4 | 4 | 4 | 0 | 0 |  | 184.711 | 184.711 | 184.711 | 0 | 0 |  |  |  |  | 1 | 1 | 0
3 | 3 | 3 | 0 | 0 |  | 122.588 | 122.588 | 122.588 | 0 | 0 |  |  |  |  | 1 | 1 | 0
2 | 2 | 2 | 0 | 0 |  | 60.465 | 60.465 | 60.465 | 0 | 0 |  |  |  |  | 1 | 1 | 0
6 | 6 | 6 | 0 | 0 |  | 308.957 | 308.957 | 308.957 | 0 | 0 | 1605.25 | 124.246 | 0 |  | 1 | 1 | 0
6 | 7 | 6 | 1 | 0 |  | 308.957 | 371.08 | 308.957 | 62.123 | 0 |  |  |  |  | 1 | 1 | 0
0 | 3 | 0 | 3 | 0 |  | 0 | 122.588 | 0 | 122.588 | 0 |  |  |  |  | 0 | 1 | 1
6 | 5 | 5 | 0 | 1 |  | 308.957 | 246.834 | 246.834 | 0 | 62.123 | 493.668 | 0 | 245.176 |  | 1 | 1 | 0
2 | 0 | 0 | 0 | 2 |  | 60.465 | 0 | 0 | 0 | 60.465 |  |  |  |  | 1 | 0 |  | 1
4 | 0 | 0 | 0 | 4 |  | 184.711 | 0 | 0 | 0 | 184.711 |  |  |  |  | 1 | 0 |  | 1
[5 empty] | SUMME: | 17409.258 | 20940.321 | 16181.72 | 4758.601 | 1289.661 |  |  |  | Summe | 66 | 72 | 15 | 9
Total Cooling Capacities:
[9 empty] | Installed | 18568.041 |  |  | Image | Total Number of ACCs | True Positive ACCs | False Positive ACCs | False Negative ACCs
[9 empty] | TP | 16181.72 |  |  | SUM | 79 | 57 | 15 | 22
Additional Chillers with ~2 Fans: | [8 empty] | FP | 4758.601 |  |  |  |  | F1 | Precision | Recall
| Image | FN ACCs | FN Fans per unit | FN Fans | FN Cooling Capacity [kW] |  |  |  | FN | 2448.444 |  |  |  |  | 0.75497 | 0.79167 | 0.72152
| 3 | 1 | 2 | 2 | 60.465
| 6 | 3 | 2 | 6 | 181.395
| 7 | 1 | 4 | 4 | 184.711
| 7 | 1 | 2 | 4 | 60.465
| 7 | 3 | 2 | 6 | 181.395
| 8 | 2 | 4 | 8 | 369.422
| 9 | 1 | 2 | 2 | 60.465
| 10 | 1 | 2 | 2 | 60.465
| SUMME | 13 |  |  | 1158.783

## Center_CTs
If hybrid chillers are CTs (unlikely)
|  | Image | True Size of CTs [px] | Pedicted Size of CTs [px] | True cooling capacity (kW) | Predicted size (px) | Estimated cooling capacity (kW)
|  | 2 | 13.5 | 0 | 908.942 | 0 | 0
|  | 2 | 13.5 | 0 | 908.942 | 0 | 0 |  | 363.5768
|  | 3 | 15 | 0 | 1208.3175 | 0 | 0
|  | 3 | 15 | 0 | 1208.3175 | 0 | 0 |  | 483.327
|  | 3 | 0 | 26 | 0 | 26.4364 | 3782.2368 | 7564.4736 | 1512.8947 | 756.4474
|  | 3 | 0 | 26 | 0 | 26.4364 | 3782.2368
|  | 4 | 18 | 0 | 1833.6576 | 0 | 0
|  | 4 | 18 | 0 | 1833.6576 | 0 | 0 |  | 733.463
|  | 5 | 0 | 24 | 0 | 24.2414 | 3248.2667 |  | 649.6533 | 324.8267
|  | 8 | 0 | 23 | 0 | 23.1439 | 2988.3989 | 50104.0015 | 10020.8003
|  | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667 |  | 2004.1601
|  | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667
|  | 8 | 0 | 22 | 0 | 22.0464 | 2733.2758
|  | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667
|  | 8 | 0 | 26 | 0 | 26.4364 | 3782.2368
GSD [m/px]: | 0.0945 | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667
|  | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667
|  | 8 | 0 | 23 | 0 | 23.1439 | 2988.3989
|  | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667
|  | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667
|  | 8 | 0 | 24 | 0 | 24.2414 | 3248.2667
|  | 8 | 0 | 27 | 0 | 27.534 | 4056.339
|  | 8 | 0 | 25 | 0 | 25.3389 | 3512.8794
|  | 8 | 0 | 27 | 0 | 27.534 | 4056.339
|  | 9 | 0 | 22 | 0 | 22.0464 | 2733.2758 |  | 546.6552
|  | 10 | 0 | 47 | 0 | 49.4841 | 10534.7901 |  | 2106.958 | 1053.479
|  |  |  | SUMME Cooling Capacity [kW]: | 7901.8342 | SUMME Cooling Capacity [kW]: | 74184.8077

## Conclusion_Bruehl
Detect Compression Chillers (CCs) and Cooling Towers (CTs); Calibration Factor
| Total Cooling Capacity (kW) | Predicted Cooling Capacity | True Positive | False Positive | False Negative
ACCs | 27512.871 | 24814.278 | 19253.052 | 5561.226 | 8259.819
CTs | 177332 | 181514.9104 | 161958.2157 | 19556.6947 | 15373.5197
Total | 204844.871 | 206329.1884 | 181211.2677 | 25117.9207 | 23633.3387
| Total Precision | 0.87826
| Total Recall | 0.88463

## Conclusion_Center
Detecting ACCs and CTs
| Total Cooling Capacity (kW) | Predicted Cooling Capacity | True Positive | False Positive | False Negative
ACCs | 18568.038 | 20940.321 | 16181.72 | 4758.601 | 2448.441
CTs | 0 | 74184.8077 | 0 | 74184.8077 | 0 | Total Precision | 0.17011
[6 empty] | Total Recall | 0.86858
Total | 18568.038 | 95125.1287 | 16181.72 | 78943.4087 | 2448.441
Detecting ACCs
| Total Cooling Capacity (kW) | Predicted Cooling Capacity | True Positive | False Positive | False Negative
ACCs | 18568.038 | 20940.321 | 16181.72 | 4758.601 | 2448.441
CTs | 0 | 0 | 0 | 0 | 0 | Total Precision | 0.77275
[6 empty] | Total Recall | 0.86858
Total | 18568.038 | 20940.321 | 16181.72 | 4758.601 | 2448.441